

**Office of Procurement Services**

P.O. Box 7800 • 315 W. Main St., Suite 441 • Tavares, FL 32778

**SOLICTATION:** Stormwater Pipe Lining and Related Services 04/15/2022

Vendors are responsible for the receipt and acknowledgement of all addenda to a solicitation. Confirm acknowledgement by including an electronically completed copy of this addendum with submittal. Failure to acknowledge each addendum may prevent the submittal from being considered for award.

THIS ADDENDUM DOES NOT CHANGE THE DATE FOR RECEIPT OF PROPOSALS.

**QUESTIONS/RESPONSES**

Q1. On large diameters (42”-84”) the cost to perform CIPP work is very expensive since it involves high resin costs and the fact that in order to perform CIPP works on large storm pipes the contractors will have to remove ring and cone. Having said that, would the County consider Spin/Spray applied cementitious lining rehab methodology as an approved equal/alternate method to CIPP methodology for rehabbing large diameter 42”-84” storm pipe?

**R1.** The County does not wish to allow any alternative methods at this time.

**ADDITIONAL INFORMATION**

**ACKNOWLEDGEMENT**

Firm Name: Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid: Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.