## Honeywell submitted pricing
VENDOR NAME
SAVE AND SUBMIT AS AN EXCEL FILE
Contractor will furnish all labor, materials, tools, transportation, and equipment necessary to provide turnkey system. Services will be performed in accordance with the specifications listed and implied.
Alterations to locked cells may result in disqualification of submission.
ITEM | ITEM DESCRIPITION |  | TOTAL COST
1 | Base bid: Existing chilled water and heating hot water control valves to remain and Contractor removes and replaces existing pneumatic actuators with electronic actuators for each AHU and FCU. |  | 0
2 | Alternate bid #1: Existing chilled water and heating hot water control valves to be replaced with new electronic motorized control valves for each AHU and FCU. Refer to AHU and FCU schedule for details on new chilled water valve information. |  | 0
OPTIONAL ITEMS
ITEM | DESCRIPTION SUPPORTING REDUCTION FROM BASE BID | DOCUMENTATION FOR EACH ITEM UPLOADED AS A SEPARATE ATTACHMENT | REDUCTION FROM BASE BID
3 | Remove 3 additional re-commissioning tests over 3 years from the scope and reduce Customer training from 18 to 3 days. |  | 0
4 | Remove 134 FCU filter differential pressure transmitters and valve position feedback from the scope. |  | 0
5 | Remove 134 FCU filter rack refurbishment from the scope. |  | 0
6 | Abandon all existing pneumatic tubing above ceilings and hidden areas. Visible pneumatic tubing in mechanical, electrical rooms will be removed. |  | 0
7 | Rreduce warranty on BAS system and controller software upgrades from 3 years to 1 year. |  | 0
8 | Reuse existing Atrium exhaust EF-13 discharge damper, reuse Stairwell Fans SF-1A & SF-2 discharge dampers; all 3 of these dampers have existing electric actuators which will be replaced): |  | 0
9 | Deducts #3 through #8 above can be taken in any combination or all at once. |  | 0
10 | (From Add Alternate #1, replace 134 FCU control valve cartridges in lieu of replacing the entire control valve, any existing insulation removed will be reinstalled, does not include new insulation) |  | 0
Brand name if an alternate to Honeywell is proposed:
Vendor has submitted all descriptive material necessary for the County to determine whether the product offered meets the salient characteristics required by the specifications.
Lake County is exempt from all taxes (Federal, State, Local). A Tax Exemption Certificate will be furnished upon request for any direct purchasing. Contractor will be responsible for payment of taxes on all materials purchased by the Contractor for the project.

## The County accepts the followin
Honeywell International Inc dba Honeywell Building Solutions
Contractor will furnish all labor, materials, tools, transportation, and equipment necessary to provide turnkey system. Services will be performed in accordance with the specifications listed and implied.
ITEM | ITEM DESCRIPITION | Itemized Cost
1 | Base bid: Existing chilled water and heating hot water control valves to remain and Contractor removes and replaces existing pneumatic actuators with electronic actuators for each AHU and FCU. | 1228322
2 | Add: Existing chilled water and heating hot water control valves to be replaced with new electronic motorized control valves for each AHU and FCU. Refer to AHU and FCU schedule for details on new chilled water valve information. | 233406
3 | Deduct: Remove 3 additional re-commissioning tests over 3 years from the scope and reduce Customer training from 18 to 3 days. | 110300
4 | Deduct: Remove 134 FCU filter differential pressure transmitters and valve position feedback from the scope. | 55817
5 | Deduct: Remove 134 FCU filter rack refurbishment from the scope | 33762
6 | Deduct: Reuse existing Atrium exhaust EF-13 discharge damper, reuse Stairwell Fans SF-1A & SF-2 discharge dampers; all 3 of these dampers have existing electric actuators which will be replaced) | 13126
7 | Deduct: (from Add Alternate #1, replace 134 FCU control valve cartridges in lieu of replacing the entire control valve, any existing insulation removed will be reinstalled, does not include new insulation) | 114056
Total Amount |  | 1134667