- BUILDING REQUIREMENTS

The uniqueness of the elections business dictates several considerations not usually found in the typical office building.

  - Security of voter ballots and the instruments are paramount.

  - Security of personnel is important.

  - Ability to execute a complete election during or immediately after a hurricane is imperative.

  - A standby generator(s) to supply both buildings for several days. The current generator may be inspected for reuse.

  - A waterless fire suppression system capable of retarding any fire threat without damaging documents shall be in the safe room, ballot storage areas, vote-by-mail room, tabulation room, and the IT equipment room.

  - Extensive routing of cables for computers as well as phones.

  - Return mail ballots must be kept completely secure during custody; therefore, processing of ballots must flow sequentially from one stage to another and pathway must be smooth and orderly. Ballots must be secured in one room until moved to be opened and then tabulated. Upon completion of the tabulation, ballots must remain segregated from early voting ballots and election day ballots. In current warehouse, the smooth flow of work is essential to make sure each precinct voting location is properly and completely supplied with equipment and consumables.

HVAC

  - Each of the listed work areas should have separate zone-controlled HVAC system.

  - To the extent possible, each individual office space needs should have separate temperature controls.

SAFE ROOMS

  - If possible, a hardened safe room in which to securely store ballots and other sensitive materials. Room should be of reinforced concrete or reinforced masonry wall construction.

  - A second safe room shall be located in the Administrative Area. It can a multi-purpose room (phone bank use, etc.).

SECURITY SYSTEM

  - Multiple cameras must be installed as well as some areas being isolated by multi-factor authentication for admission. Cameras need to be installed for coverage of all external doors as well as parking areas.

  - Multiple glass breaks and motion detectors are required.

  - Access systems shall record each entry through any door.

  - Each external door shall have a doorbell, intercom, and a camera for visual confirmation.

  - Main public entrance shall have quality audio/visual system interlock.

INFORMATION TECHNOLOGY REQUIREMENTS

  - Wireless Networks.

    - Building 1 shall have two wireless networks, one secured for SOE use only and one for public access.

    - Building 2 shall have one wireless network, secured for SOE use only.

  - Make sure all locations have (4) Cat-6 drops and all drops go to patch panels.

  - It is preferred the Data/Phone Room be on an outside wall with its own service entrance and interior access without going through offices.

    - Room shall be large enough for:

      - Three server racks side by side – all 4 post racks (phone, patch panels, data) with access space front and rear;

      - Camera DVR system, and a small workspace for technicians; and

      - Enough wall space for the RBH door controls and any other security equipment.

      - Ceiling shall prevent any water intrusion.

- ADMINISTRATIVE (BUILDING 1)

  - Tabulation Room must have windows for public viewing. The tabulation room must have space to store the boxes of ballots that have been tabulated. It must be large enough to accommodate eight high-speed tabulation machines and give adequate room for operation of the machine including tables to supplement each machine. These machines will need floor outlets for computer and electric access.  As a part of the tabulation suite, there must be an office for the IT director and three assistants. A hardened room (specifications to be determined) will be needed to house the computer servers and our security system central controls. This room must have extra cooling and protection from overhead water intrusion.

  - Vote by Mail Room (VBM) must have windows for public viewing. VBM room must have external access through which staff can import the mail each day. There must be an area for initial processing of the mail plus this room must have spaces for at least eight desks. It must have space to store the 30 or 40 carts used to store the ballots from their time of entry until the time of tabulation which may be two to three weeks. The room also will have to house two machines to verify signatures, in addition to cabinets to house large quantities of consumable supplies. Need space and outlets for ballot printing devices.

  - A separate room for opening the returned envelopes must allow free and easy movement of the ballot carts from the VBM room, through the opening room and into the tabulation room. Mail room shall have an exhaust fan system capable of removing any substances mailed.

  - The Mail, Opening, and Tabulation rooms must have video surveillance and public viewing access.

  - Canvassing Board Room must be at least 24 feet wide and 20 or 30 feet long. It must allow ingress/egress without public interaction but does not need accessibility to the outside. Room shall have floor outlets for the table. Windows and sound system for public viewing are required. Wall outlets (electric, cable TV, internet) and floor outlets are required. The sound and tv signals will be also sent to a public viewing area in another part of the building to be identified as overflow public viewing.

  - Clerk Phone Bank Room-Seating Capacity of 25 (may serve dual purpose).

  - Tech Phone Bank Room-Seating Capacity of 15 (may serve dual purpose).

  - At least two Training Rooms-Seating Capacity of 50 each. Both rooms to have full sound and video capabilities with wall-mounted video screens on each side wall about ½-3/4 back. Need projection screen on front wall or very large video screens.

  - Training Rooms have separate entrance from Main Entrance.

  - Training room area shall have men and women’s restrooms (four to six stalls each and exhaust fans).

  - Office Space allowing for staff growth (administrative support, scheduler, trainers, timesheet/payroll) Spaces for six people.

  - Small meeting room for candidate services or meeting with election workers (or others in semi-private setting) This room is to be near main entrance close to Voter Registration area.  Fully equipped with internet and phone.

  - Storage room for training materials, and election worker documentation.

  - Community Outreach Storage area. Allows for all items to be displayed in order to easily see what needs to be reordered and what is on-hand. Space should allow for drawers or bins to slide out so staff can label them and ensure everything is put back in its place. Clip board, totes, (etc. items used at high school registration drives) should have space. Tent, chairs and other large items take up floor space.  Hooks for things banners, etc., to hang in their cases and keep things off the floor.

  - Office space for the outreach/communications department to grow as the community grows. For future staffing in the department, would like to have room to grow so SOE does not outgrow the facility.

Registration Area

  - Large waiting area for tables and seats.

  - Platform/standing desk for customers to be at eye level of clerks.

  - Need ADA counter compliance where required.

  - Numbering/lighting system.

  - 2 separate phone banks. Mainline behind front desk. Separated by Window.

  - Security guard station.

  - Office for meetings (vendors, Candidates, voters in protection program).

  - In office Voting area.

  - Mailboxes for all departments.

  - Awning/Outside covering for possible overflow (Portico over main entrance).

  - Public Restroom.

  - Filing room.

Executive Suite

  - Office spaces for SOE, Assistant SOE, Executive Assistant, Comptroller,

  - Conference room

  - Restrooms

Break Room

  - Ice maker, full size refrigerator, outlets for vending machines, space for tables and chairs.

- WAREHOUSE (BUILDING 2)

  - Warehouse needs are for active storage.

  - Equipment must be kept in a climate-controlled environment due to the sensitive electronics. Equipment must be serviced every 90 days with battery charging and each individual piece of equipment must be tested and programed before each election.  There must be enough space to safely walk around the machines and sufficient switched electrical outlets/drops to perform the necessary tasks.

  - A dedicated forklift area (parking and charging).

  - Two Freight Rollers Docks 10 ft X 9 ft with drawbridge Ramps and Rolling Doors.

  - Two ground level doors with openings with roller doors and 14 ft X 10 ft opening for Trucks to Ingress and Egress.

  - Low E glass Windows under eaves around Warehouse (high up on walls for security).

  - Led Lighting throughout Warehouse, Offices and Exterior (including Porticos).

    - Office lighting shall be dimmable LEDs.

  - Utility Room with a deep sink, and other accommodations for janitorial needs including mop buckets filling/emptying. A floor drain in room is required.

  - Four offices 12 ft X 10 ft fully enclosed with phone and network drops in each.

  - Four way cubical for temps open to warehouse.

  - Restrooms Men and Women’s (two stalls each) (showers) (exhaust fans for Restrooms).

  - Eight additional Pallet Racks 12 ft (double deep) wide with sliders (Pallet Flow Rack).

  - Pallet Racks 4 ft for Supply Room.

  - Two Porticos 15 ft high 30 ft by 30 ft above the 2 ground level Rollup Doors.

  - Fenced Rear of building with gates (automated) to secure generator, Power panels, Trucks and Vehicles.

  - All personnel doors entering Warehouse from office and from outside should be Double Doors.

  - One 20’x50’ mezzanine is currently in use and may be moved to the new facility. Multiple pallet racks are currently in use and may also be moved.

  - Power Drops throughout Warehouse.

  - Outside water spigots and Electrical Outlets at each Portico. Portico shall have switched pole lights sufficient to flood the area with light.

  - Workshop/ tool area adjacent to Utility Room. This area needs to be enclosed if feasible.

  - Tech Call Center/ Meeting Room/ Breakroom fully enclosed (12 phone drops/ CATV/ Network)

- ENTRANCE REQUIREMENTS

3.77 SR 19 is classified as a Minor Arterial Urban with an Arterial Access Classification of Class 4.  This arterial class has driveway connection spacing set for 55MPH roads at 660’ from the Lane Park Rd intersection. The future 4 lane of SR 19 will consist of a median that will prohibit any left turn movements into or out of the site.

The trail planned along SR 19 will be 14-ft wide and is called Central Lake Trail.

The project may require at the driveway off Lane Park to have a right turn lane.

A sidewalk, if required, along the Lane Park Rd frontage.

A southbound right turn lane on SR 19 would be something that maybe required but the existing right-of-way and signal pole may limit the ability to constructing one at this time.

PRE-ENGINEERED BUILDING SPECIFICATIONS

- BOTH BUILDINGS

  - One Hundred Foot (100’) Wide by two hundred foot (200’) Long

  - Roof – Z Purlin Galvanized

    - 26 Gauge Galvalume PBR Roof (35 Year Warranty)

    - Sheeted with 24 ga. Painted (Loc Seam 360) panels on the roof

    - Gutter with downspouts

  - Sidewalls CMU

  - Structural Steel I-Beams

    - Minimum 50-Year Warranty On All Structural Members

  - Engineered sealed drawings (comply with the FBC 8th Ed. (2023)

    - Buildings to be designed by a structural engineer registered in the State of Florida however, FS 481.229 also requires an Architect licensed in the State of Florida.

    - Certified, Stamped & Engineered Drawings specific to Florida

    - Engineering and drawings included

    - Building Code FBC 8th Ed. (2023)

  - All Fasteners and Hardware

    - Lifetime Warranty against rust on all fasteners

  - Premium Sculpted Trim

  - Premium Base Trim

- ADMINISTRATION BUILDING (Building 1)

  - 12’-0” eave height

  - Bay spacing: 8 @ 25’-0”

  - Roof slope 1:12

  - Frame type: (TRF) Gable Symmetrical

  - All walls full open for CMU

  - R-38 ( 6”+ 6”) Sag & Bay system faced w/VRR+ white vinyl reinforced backed insulation in the roof

- WAREHOUSE BUILDING (Building 2)

  - 20’-0” eave height

  - Bay spacing: 8 @ 25’-0”

  - Roof slope 1:12

  - Frame type: (TRF) Gable Symmetrical

  - All walls full open for CMU

  - R-38 ( 6”+ 6”) Sag & Bay system faced w/VRR+ white vinyl reinforced backed insulation in the roof

[The remainder of this page is intentionally left blank.]