

**Office of Procurement Services**

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

**SOLICTATION: East Lake Temporary Library Facility** 04/17/2024

Vendors are responsible for the receipt and acknowledgement of all addenda to a solicitation. Confirm acknowledgement by including an electronically completed copy of this addendum with submittal. Failure to acknowledge each addendum may prevent the submittal from being considered for award.

THIS ADDENDUM **CHANGES THE DATE** FOR RECEIPT OF PROPOSALS **TO 04/30/2024**.

**Questions to be answered in Addedum No.3**

1. The electric riser diagram shows only a meter with no disconnecting means. Please conﬁrm this is correct?

**A:**

1. Are we to include new downspouts throughout the perimeter?

**A:**

1. Are we required to bring any of the existing electrical work up to code? (i.e. existing exit lights that may or may not be working, existing exterior outlets that are not waterproof, etc)

**A:**

1. Is there a preferred make & model for the LVT ﬂooring?

**A:**

1. Please advise on the speciﬁcations/design for the handicap ramp & stairs

**A:**

1. Sheet E111 shows a new transformer and meter for the modular buildings however the Conduit Drawing appears to how the electrical for the modular building being fed from the existing electrical service at the mini-Library. Please conﬁrm which is correct. If a new transformer will be placed adjacent to the modulars, please conﬁrm is the power company will be responsible for the primary conduit & wire, as well as setting the new transformer.

**A:**

1. Is there a speciﬁc manufacturer or model for the building skirting that is desired?

**A:**

1. What is the desired R-value of the tapered roof insulation system as well as the thickness of the TPO rooﬁng membrane?

**A:**

1. Please conﬁrm the intent is to repaint the entire exterior façade to match the adjacent mini- Library building. Are you able to provide the paint colors from this building?

**A:**

1. Please conﬁrm the intent is to repaint the entire interior space (walls & ceilings). Have colors/sheens been selected?

**A:**

1. Please conﬁrm if temporary construction fencing will be required to secure the construction area since the adjacent park & parking lot will be active.

**A:**

1. Site Plan 1.2 shows to open cut existing asphalt pavement for the sewer and water connection to the modular building. Are we required to patch the asphalt after sewer/water connection or will the owner accept ﬁlling back in with dirt/limerock for the time being?

**A:**

1. Is the proposed bike rack and concrete pad to be included in our bid? If so, can you please provide details/specs?

**A:**

**ACKNOWLEDGEMENT**

Firm Name: Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid: Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.