Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Green Mountain Scenic Overlook & Trailhead – Second Observation Tower (rebid)				09/02/2025

Vendors are responsible for the receipt and acknowledgement of all solicitation addenda. Submit an electronically signed copy with solicitation submission. Failure to acknowledge an addendum may prevent the submission from being considered for award.

THIS ADDENDUM CHANGES THE DATE FOR RECEIPT OF PROPOSALS FROM 09/03/2025 TO 09/09/2025.

QUESTIONS / RESPONSES:

Q11.	After running some analysis on the reactions we believe we can make helicals work for the foundation but it will require the concrete footing to be redesigned. Basically the concrete footings are too small for us to fit the helicals required to achieve the lateral loading. Additional helicals will need to be added on a batter to make this work. We are thinking of one large mat slab then configuring the helicals to the large slab. Is this acceptable?

R11.	A mat foundation as designed by the Contractor’s delegated Eng. Will be acceptable so long as it follows the design criteria and loading requirements provided by the Structural drawings. Contractor shall be responsible for a complete foundation design (including bolts, piles, foundation and any associated items). Contractor to provide calculations signed / sealed from the delegated Structural Engineer as part of the shop drawing review process during construction. As a clarification, Contractor must include in their bid pricing any cost associated with the redesigning and construction of the concrete footings and helical piles. Contractor to waive any claims and also be responsible for any additional costs caused by the redesigning of the concrete footings and helical piles which may subsequently affect other components of the proposed improvements included under this project.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.