1. **BACKGROUND**

The County received funding from the U.S. Treasury Department as part of the American Rescue Plan Act of 2021 (ARPA), Public Law No. 117-2, Title IX, Part 8, Subtitle M (March 11, 2021) and codified at 42 USC 802 and 803, known as the Coronavirus State and Local Fiscal Recovery Funds (SLFRF), and implemented by the U.S. Department of Treasury’s 2021 Interim Final Rule, 2022 Final Rule, and 2023 Interim Final Rule at 31 C.F.R Part 35. One of the primary eligible uses of ARPA-SLFRF funds is to address the public health.

1. **SCOPE OF SERVICES**

The unhoused lack access to safe and reliable bathing, and laundry facilities. Mobile Shower Trailers and Laundry Trailers can satisfy the needs of the unhoused throughout the County.

Contractors will provide new/unused mobile shower and laundry trailers to County.

1. **FEDERAL FUNDING REQUIREMENTS**

**Compliance with Federal, State, and Local Law.** Contractors must comply with all applicable Federal, State, and Local laws, regardless of whether such laws are expressly cited within this solicitation or any contract resulting from such award.

1. **SPECIFICATIONS**
	1. Pricing shall be for each trailer. County will determine how many of each trailer are purchased later.
	2. Trailers shall have the option to be self-sustaining as well as have hook up connections.
		1. Vendor shall submit how self-sustaining is provided.
		2. Vendor shall submit how long the until will be self-sustaining and under what conditions.
		3. Vendor shall consider water conservation measures and fixturing.
	3. Vendor may submit combination shower/laundry trailers.
	4. Trailers shall be all inclusive.
	5. Trailers shall have exterior security cameras.
	6. Vendor must submit specifications for all equipment provided for the turnkey trailer.
	7. Minimum three (3) Stall Shower Trailer
		1. Minimum three (3) stall shower trailer with at least one (1) ADA compliant bathroom/shower facility with wheelchair access
		2. Minimum two (2) separate entrances
		3. Fiberglass stalls with non-skid surface
		4. Paper towel and soap dispensers
		5. Minimum 300-gallon freshwater storage
		6. Minimum 1,300 gallon black/gray water storage
		7. Interior heat and air conditioning
		8. Propane-fired water heaters to heat water
		9. Interior vanity light and exterior lighting
		10. Minimum two (2) separate vanity sinks with mirrors and electrical outlets
	8. Laundry Trailer
		1. Minimum two (2) washers
		2. Minimum two (2) dryers
		3. Minimum two (2) chairs
		4. Minimum two (2) charging stations
		5. Freshwater storage tanks
		6. Black/gray water storage tanks
		7. Laundry soap dispensers
		8. Interior heat and air conditioning
		9. Propane-fired water heaters to heat water
		10. Interior vanity light and exterior lighting
	9. Vendor may submit alternate solutions without pricing during the Questions and Exceptions period indicated in Section 6.0 of the Solicitation.
2. **DELIVERY REQUIREMENTS AND ACCEPTANCE**
	1. Delivery shall be within ninety (90) calendar days from the date of the purchase order.
	2. Delivery shall be to: Office of Fleet Management, 20423 Independence Blvd, Groveland, Florida 34736
3. **WARRANTY REQUIREMENTS**

Warranty shall be a minimum of two (2) years.