## 25-921
VENDOR NAME: |  |  | ENTER VENDOR NAME HERE
Building Code | Building | Address | City | Filter Quantity | Unit | Manufacturer | Model # | Serial # | Month Due | Semi-Annual Cost | Month Due | Annual Cost |  | Total Cost
AB-10 | Adkins House | 55420 Front St. | Astor | 1 | Package 1 | Grandaire | WJH336000KTP0A1 | X113894100 | January |  | July |  |  | 0
[10 empty] | 0 |  | 0
HB-31 | Agricultural Center | 1951 Woodlea Rd. | Tavares | 25 | Package 1 | Rheem | RLNA-AO42CK | 7369F020606861 | June |  | December |  |  | 0
[5 empty] | Package 2 | Rheem | RLKB-A090CL000 | 6341F0200415014
[5 empty] | Package 3 | Rheem | RSKA-A086CK | 5817F050607159
[5 empty] | CU split 1.1 | Grandaire | HS29-120-3Y | 5606D04523
[5 empty] | CU split 1.2 | Lennox | HS29-120-34 | 5606D12218
[5 empty] | AH 1 | RHEEM | RBHA-24J10NUBAI | M09934136
[5 empty] | CU split 2.1 | Rheem 10 ton | RPGC-060CAS | 4665M36921481
[5 empty] | CU split 2.2 | Rheem 10 ton | RPGC-060CAS | 4665M36912473
[5 empty] | AH 2 | Rheem 10 ton | RPHA-100Z | 085G38922461
[5 empty] | CU split 3.1 | Rheem 10 ton | RPGC-060CAS | 46665M2592567
[5 empty] | Cu split 3.2 | Rheem 10 ton | RPGC-060CAS | 4665M36925829
[5 empty] | AH 3 | Rheem 10 ton | RPHA-100Z | 085G38922462
[5 empty] | CU split 4.1 | Rheem 10 ton | RPGC-060CAS | 4990M02932634
[5 empty] | CU split 4.2 | Rheem 10 ton | RPGC-060CAS | 4990M02932637
[5 empty] | AH 4 | Rheem 10 ton | RHFG-100Z | 165G05930261
[5 empty] | CU 5 | Grandaire | JS5BD-042KA | JSF080706452
[5 empty] | AH 5 | Nordyne | GB5BM-T42K-B-10 | GBD080508783
[10 empty] | 0 |  | 0
CP-01 | American Legion | 40924 SR 19 | Umatilla | 3 | Package # 1 | GrandAire | WJH410000KTP0A1 | C153497261 | January |  | July |  |  | 0
[5 empty] | Package # 2 | GrandAire | WJH430000KTP0A1 | C153195557
[10 empty] | 0 |  | 0
KB-22 | Animal Shelter | 28123 CR 561 | Tavares | 57 | CU 1 | Trane | 4TTA4060A3000AA | 20051PEG5F | June |  | December |  |  | 0
[5 empty] | AH 1 | Trane | GAM5B0C60M51EAB | 20181ELY1V
[5 empty] | CU 2 | Trane | TTA24043DAB01AE | 20122669YA
[5 empty] | AH 2 | Trane | TWE09043BAA04AA4 | 20191396BA
[5 empty] | CU 3 | Trane | TTA24043DAB01AE | 20122666YA
[5 empty] | AH 3 | Trane | TWE09043BAA04AA4 | 20172872BA
[5 empty] | CU 4 | Trane | 4TTA4060A3000AA | 20165YTU3F
[5 empty] | AH 4 | Trane | GAM5B0B36M31EAB | 2020RBD1V
[5 empty] | CU 5 | Trane | 4TTA4060A3000AA | 194754RDAF
[5 empty] | AH 5 | Trane | GAM5B0A18M11EAB | 20185CMD1V
[5 empty] | CU 6 | Trane | 4TTA4060A3000AA | 20083UPT3F
[5 empty] | AH 6 | Trane | GAM5B0A24M21EAB | 20162RNN1V
[5 empty] | CU 7A | Fujitsu | F06014CSNBC | W252243808
[5 empty] | CU 7B | Fujitsu | F06014CSNBC | W452239544
[5 empty] | AH 7 | Rheem | RHCLA2120CAS | F382201124
[5 empty] | CU 8 | Trane | TTA24043DAB01AE | 20131140TA
[5 empty] | AH 8 | Trane | CSAA006UAL00 | K20D18784
[5 empty] | CU 9 | Trane | TTA18043DAB01AE | 20192816TA
[5 empty] | AH 9 | Trane | CSAA006UAL00 | K20D18159
[5 empty] | CU 10 | Trane | TTA18043DAB01AE | 20201171TA
[5 empty] | AH 10 | Trane | CSAA006UAL00 | K20D18173
[5 empty] | CU 11 | Trane | TTA18043DAB01AE | 20151394YA
[5 empty] | AH 11 | Trane | CSAA004UAL00 | K20D18166
[5 empty] | CU 12 | Trane | TTA24043DAB01AE | 20181725TA
[5 empty] | AH 12 | Trane | CSAA006UAL00 | K20D18763
[5 empty] | CU 13 | Trane | TTA24043DAB01AE | 2014602TA
[5 empty] | AH 13 | Trane | CSAA006UAL00 | K20D18770
[5 empty] | CU 14 | Trane | TTA24043DAB01AE | 20142603TA
[5 empty] | AH 14 | Trane | CSAA006UAL00 | K20D18777
[5 empty] | CU 15 | Trane | TTA24043DAB01AE | 20131121TA
[5 empty] | AH 15 | Trane | CSAA006UAL00 | K20D18798
[5 empty] | Mini Split CU | Mitsubishi mini-split | PUY-A24NHA7 | 9YU18429A
[5 empty] | Mini Split AH | Mitsubishi mini-split | PKA-A24KA7 | 9YM08001
[10 empty] | 0 |  | 0
FB-05 | Area Maintenance 1 | 2310 W Griffin Rd. | Leesburg | 1 | CU | Grandaire | WCH4424GKB100 | X152273870 | April |  | October |  |  | 0
[5 empty] | AH | Grandaire | WAHL484B | A152086203
[10 empty] | 0 |  | 0
MB-05 | Area Maintenance 2 | 609 Disston Ave. | Minneola | 1 | CU | Grandaire | WCH4424GKB100 | X152474672 | February |  | August |  |  | 0
[5 empty] | AH | Grandaire | WAHL484B2 | A152182766
[10 empty] | 0 |  | 0
DB-01 | Area Maintenance 3 | 19720 5th St. | Umatilla | 2 | CU 1 | Grandaire | WCH4304GKB100 | X151061002 | January |  | July |  |  | 0
[5 empty] | AH 1 | Grandaire | WAHL304B | A153172687
[5 empty] | CU 2 | Grandaire | WCH4244GKB101 | E150808118
[5 empty] | AH 2 | Grandaire | WAHL304B | A151570165
[10 empty] | 0 |  | 0
BB-07 | Clerk - North Lake | 902 Avenida Central | The Villages | 1 | CU 1 | Airtemp | VSH1BE4M1SP48K | VSG2206055726 | April |  | October |  |  | 0
[5 empty] | AH 1 | Airtemp | B6BMMX60K-CP | B6G2211014510
[10 empty] | 0 |  | 0
AB-13 | Community Center - Paisley | 24954 CR 42 | Paisley | 4 | Package 1 | Bard | WA361-A00XX4XXX | 125J011646665-01 | March |  | September |  |  | 0
[5 empty] | Package 2 | Bard | WA361-A0XX4XXX | 125J011646669-01
[5 empty] | Package 3 | Bard | WA361-A00XX4XXX | 125J011646668-1
[5 empty] | Package 4 | Bard | WA421-A0XX4XXX | 126H021737679-02
[10 empty] | 0 |  | 0
CB-05 | Commnity Center - Umatilla | 17107 Ball Park Rd. | Umatilla | 19 | Package 1 | Airtemp | VP94RD-036K | VPG2301004047 | January |  | July |  |  | 0
[5 empty] | Package 2 | Airtemp | VP94RD-036K | VPG2301003950
[5 empty] | Package 3 | Airtemp | VP94RD-036K | VPG2301004052
[5 empty] | Package 4 | Airtemp | VP94RD-036K | VPG2301004054
CB-06 | Building #2 |  |  |  | CU 1 | Grandaire | WCH5604GKA200 | E181608852
[5 empty] | AH 1 |  | WAXL604A | F182368348
[10 empty] | 0 |  | 0
AB-06 | Drop Off - Paisley | 44225 Spring Creek Rd. | Paisley | 1 | Package | Bard | WA301-A10XX4XXX | M930811075 | March |  | September |  |  | 0
[10 empty] | 0 |  | 0
EB-07 | Drop Off - Pine Lakes | 32520 SR 44 | Pine Lakes | 1 | Package | Grandaire | GP3RD-24K | GPF080302768 | March |  | September |  |  | 0
[10 empty] | 0 |  | 0
AB-17 | Ellis Acres Reserve | 25302 CR 42 | Paisley | 1 | CU | ICP | WCA3602GKR2 | X113560599 | March |  | September |  |  | 0
[5 empty] | AH | ICP | WAHM604A | A1026884184
[10 empty] | 0 |  | 0
CB-16 | Fairgrounds - Expo | 2101 CR 452 | Eustis | 2 | CU 1 Expo | Grandaire | WCA3484GKA3 | X124768255 | January |  | July |  |  | 0
[5 empty] | AH 1 Expo | Grandaire | WAPM484A | A124282227
CB-15 | Fairgrounds - Ashford |  |  |  | CU 2 Ash | Grandaire | JS3BA-030KA | JSF040700062
[5 empty] | AH 2 Ash | Grandaire | GB3BM-030K-A-10B | GBD040800532
[10 empty] | 0 |  | 0
LB-05 | Fleet Facility | 20423 Independence Blvd. | Groveland | 4 | CU 1 | Carrier | 24ABR-36A00 | 1406E391472 | June |  | December |  |  | 0
[5 empty] | AH 1 | Carrier | FA4CNB060 | 0906A86982
[5 empty] | CU 2 | Gree Mini-split | GWH09AB | 4736810000613
[5 empty] | AH 2 | Gree Mini-split | A3DNA1B-I | 4736810000613
[10 empty] | 0 |  | 0
KB-07 | Haz Mat Trailer | 13100 County Landfill Rd. | Tavares | 2 | Package 1 | BARD | WA361-A00XP4XXE | 125A021701125-02 | May |  | November |  |  | 0
[5 empty] | Package 2 | BARD | WA36A2-A05XPXXXJ | 309L183588824-02
[10 empty] | 0 |  | 0
HB-45 | Health - Administration Building | 16140 HWY 441 | Eustis | 12 | CU 1 | Trane | TTB018C100A2 | Z285W81BF | June |  | December |  |  | 0
[5 empty] | AH 1 | Trane | FXM4X6000AT | A113088560
[5 empty] | CU 2 | Trane | N4A360AKC300 | E110710422
[5 empty] | AH 2 | Trane | TWE018C14FB0 | Z3134X32V
[5 empty] | CU 3 | Daikin | RKN18KEVJU | C003243
[5 empty] | AH 3 | Daikin | N/A | N/A
[5 empty] | CU 4 | Concord | 4H914L369-10A | 1917H09548
[5 empty] | AH 4 | Concord | N/A | N/A
[5 empty] | CU 5 | ICP | CAS091HAA00AA | C131893806
[5 empty] | AH 5 | ICP | FAS091MAAA0AAA | U1103024433
[5 empty] | CU 6 | Trane | TTB018C100A2 | Z285WK9KBF
[5 empty] | AH 6 | Trane | TWE018C14FB0 | Z3134X62V
[5 empty] | Package | Trane | 4TCC3060A3000AA | 103410352L
| Warehouse Building |  |  |  | CU 7 | Carrier | 24ABB360A320 | 3911E02418
[5 empty] | AH 7 | Carrier | FB4CNF060 | 4011A83968
[5 empty] | CU 8 | Carrier | 24ABB360A320 | 3811E00472
[5 empty] | AH 8 | Carrier | FB4CNF060 | 4011A83967
[10 empty] | 0 |  | 0
MB-04 | Health - Clermont Community Building | 560 W Desoto St. | Clermont | 3 | CU 1 | Grandaire | WCA3602GKA2 | X124166919 | February |  | August |  |  | 0
[5 empty] | AH 1 | Grandaire | GB5BM-T60K-C-10 | GBD060706047
[10 empty] | 0 |  | 0
MB-03 | Health - Clermont & WIC | 875 Oakley Seaver Dr. | Clermont | 4 | CU 1 | Nordyne | JS4BF-060KB | JSD120409760 | February |  | August |  |  | 0
[5 empty] | AH 1 | Nordyne | B4VM-X60K-C | B4D110504278
[5 empty] | CU 2 | Nordyne | JSBF-060KB | JSD11100J968
[5 empty] | AH 2 | Nordyne | B4VM-X60K-C | B4D110504227
[5 empty] | CU 3 | Nordyne | JS4BF-060KB | JSD11100J959
[5 empty] | AH 3 | Nordyne | B4VM-X60K-C | B4D110600747
[10 empty] | 0 |  | 0
FB-04 | Health - Leesburg | 2113 W Griffin Rd. | Leesburg | 4 | CU 1 | Nordyne | JS4BF-048KB | JSD110706184 | April |  | October |  |  | 0
[5 empty] | AH 1 | Nordyne | B4VM-X48-C | B40110904652
[5 empty] | CU 2 | Nordyne | JS4BF-048KB | JSD110706765
[5 empty] | AH 2 | Nordyne | B4VM-X48-C | B4D110904711
[5 empty] | CU 3 | Nordyne | JS4BF-036KA | JSD110705973
[5 empty] | AH 3 | Nordyne | B4VM-X48K-C | B4D110904650
[5 empty] | CU 4 | Nordyne | JS4BF-048KB | JSD110706190
[5 empty] | AH 4 | Nordyne | B4VM-X48-C | B4D110904654
[5 empty] | CU 5 | Gree Mni-split | GWH18AC-D3DNA1B/0 | 4805110000418
[5 empty] | AH 5.1 | Amana | PTH073G25AXXXAB | 1106754489
[5 empty] | AH 5.2 | Amana | PHI1073E25AXXXAB | 1106754485
[10 empty] | 0 |  | 0
CB-04 | Health - Umatilla | 249 Collins Ave. | Umatilla | 44 | Package 1 | Carrier | 50HJ-004-H-531 | 3507G40475 | January |  | July |  |  | 0
[5 empty] | CU 2 | Carrier | 24ABR318A310 | 2907E03068
[5 empty] | AH 2 | Carrier | FA4CNF018 | 3407A69496
[5 empty] | CU 3 | Carrier | 380RF018-301 | 3307X91207
[5 empty] | AH 3 | Carrier | 400N0018-3 | 1907Y42463
[10 empty] | 0 |  | 0
JB-20 | Hickory Point Volleyball | 27341 SR 19 | Tavares | 8 | CU1 | Carrier | 38AUDA14A0M5A0A0A0 | 0119C90524 | June |  | December |  |  | 0
[5 empty] | AH 1 | Carrier | 40RUAA14T2A5-0A0A0 | 4418U24992
[5 empty] | Mini-split | Carrier | 38MAQB12R--3 | 1018V13406
| Hickory Point WR Field Office |  |  | 2 | Split 1.1 | Everwell | MKTH1213C-16
[5 empty] | Split 1.2 | Everwell | MKTH1213E-16
[5 empty] | AH 1.1 | AlumaCoil | ASPT39C14BA | 2107618158
[5 empty] | CU1.2 | Goodman | GSZ140361KE | 2107692561
| Hickory Point Aquatics Office |  |  | 1 | Split 2.1 | PRIME | PR12KHP110U | 2001306953
[5 empty] | Split 2.2 | PRIME | PR12KHP110U | 2001306951
| Hickory Point Admin Office |  |  | 5 | AH 2.1 | Carrier | 40RUAA14T3A5 | 2815U14866
[5 empty] | CU 2.2 | Carrier | 38AUDA12A0B5A0A0A0 | 1915C90087
[5 empty] | Split 3.1 | Mitsubishi | PUY-A24NHA7 | 2XU28707A
[5 empty] | Split 3.2 | Mitsubishi | PKA-A24KA7
| Hickory Point Marine Unit |  |  | 1 | Split 4.1 | GREE | LIVV18HP230V1AH | 4921GS48339
[5 empty] | Split 4.2 | GREE | LIVV18HPP230V1AO | 3822GS29088
[10 empty] | 0 |  | 0
KB-20 | Leachate Control Room | 30208 SR 19 | Tavares | 1 | Package 1 | Bard | WA372-A00 | 225J041935963-02 | May |  | November |  |  | 0
[10 empty] | 0 |  | 0
AB-09 | Library- Astor | 54905 Alco Rd | Astor | 7 | Package 1 | Grandaire | WJA336000KTP0A1 | X112594925 | January |  | July |  |  | 0
[5 empty] | Package 2 | Bard | WH361DAZRX4XXX | 125D011599691-02
[5 empty] | Package 3 | Bard | W36H2DA10 EHWH36-A10B | 309C173414192-02
[5 empty] | Package 4 | Bard | WH361DA00RX4XXX | 125B011599693-02
[5 empty] | Package 5 | Grandaire | WJA336000KTP0A1 | X112594927
[10 empty] | 0 |  | 0
IP-01 | Library - East Lake Park Mini | 28409 Walick Rd. | Sorrento | 1 | CU 1 | Airtemp | GXH18LSK4DL | GXJ210400406 | March |  | September |  |  | 0
[5 empty] | EVAP | Airtemp | GHH18LSK4DL | GHU210901142
[10 empty] | 0 |  | 0
OB-03 | Library - Cagan Crossing | 16729 Cagan Oaks | Clermont | 52 | Package | Carrier | 50HJ-007-H641 | 1007G50592 | February |  | August |  |  | 0
[5 empty] | Mini-split | Carrier | 38HDR018-301 | 2306X93196
[10 empty] | 0 |  | 0
MB-02 | Library - M Baysinger | 756 W Broad St. | Groveland | 4 | CU 1 | Grandaire | WCH4604GKB100 | X171132966 | February |  | August |  |  | 0
[5 empty] | AH 1 | Grandaire | WAXL604A | A171789867
[5 empty] | CU 2 | Grandaire | WCH4604GKB100 | X170370807
[5 empty] | AH 2 | Grandaire | WAXL604A | A164482019
[5 empty] | CU 3 | Grandaire | WCH4604GKB100 | X171465413
[5 empty] | AH 3 | Grandaire | WAHL424B | A151589517
[5 empty] | CU 4 | Grandaire | WCH4364GKB200 | N/A
[5 empty] | AH 4 | Grandaire | WAHL364B | A170171764
[10 empty] | 0 |  | 0
AB-11 | Library - Paisley | 24954 CR 42 | Paisley | 7 | Package 1 | Grandaire | WJA436000KTP0B1 | F213957734 | March |  | September |  |  | 0
[5 empty] | Package 2 | Grandaire | WJA436000KTP0B1 | F213957735
[5 empty] | Package 3 | Grandaire | WJA436000KTP0B1 | G213957739
[5 empty] | Package 4 | Grandaire | WJA436000KTP0B1 | G213957740
[5 empty] | Package 5 | Grandaire | WJA336000KTP0A1 | X112594921
[10 empty] | 0 |  | 0
MP-01 | Park - Minneola Athletic Complex | 1300 Fosgate Rd. | Minneola | 2 | CU | CARRIER | TT090A300FA | 3008E31430 | February |  | August |  |  | 0
[5 empty] | AH | CARRIER | FX4AN060TDDAAAA | 1608AB7755
[10 empty] | 0 |  | 0
DB-05 | Park - North Lake | 40430 Roger Giles Rd. | Umatilla | 2 | CU 1 | Carrier | 24ACA318A300 | 2607E31747 | January |  | July |  |  | 0
[5 empty] | AH 1 | Carrier | FV4BNF002 | 3409A86430
[5 empty] | CU 2 | Carrier | 24ACA336A300 | 2807E29089
[5 empty] | AH 2 | Carrier | FV4BNF003000 | 3707A86404
[5 empty] | CU 3 | Carrier | 38QRV012---3 | 1907Y00610
[5 empty] | AH 3 | Carrier | 40QNQ012…3 | 1807Y30332
[10 empty] | 0 |  | 0
JB-05 | Park - PEAR | 5336 University Ave. | Leesburg | 4 | CU 1 | ICP | WCH4364GKA100 | X150964263 | June |  | December |  |  | 0
[5 empty] | AH 1 | ICP | WAXL364A | A151187163
[5 empty] | CU 2 | ICP | WCH4364GKA100 | X150964207
[5 empty] | AH 2 | ICP | WAXL364A | A151688782
[10 empty] | 0 |  | 0
GB-07 | Probation | 2401 Woodlea Rd. | Tavares | 4 | CU 1 | Grandaire | JS5BD-060K | JSF060602642 | June |  | December |  |  | 0
[5 empty] | AH 1 | Grandaire | GB5BM-T60K-C-10 | GBD060707687
[5 empty] | CU 2 | Grandaire | JS5BD-060-KA | JSF060803783
[5 empty] | AH 2 | Grandaire | GB5BM-T60K-C-10 | GBD060707600
[5 empty] | CU 3 | Grandaire | JS5BD-060K | JSF060603568
[5 empty] | AH 3 | Grandaire | GB5BM-T60K-C-10 | GBD060707601
[5 empty] | CU 4 | Grandaire | JS5BD-060K | JSF060603576
[5 empty] | AH 4 | Grandaire | GB5BM-T60K-C-10 | GBD060707599
[10 empty] | 0 |  | 0
HB-55 | Public Safety Support | 20415 Independence Blvd. | Groveland | 2 | CU 1 | Trane | W4H5S60AKAAAABAA | X243869866 | June |  | December |  |  | 0
[5 empty] | AH 1 | Trane | WBHL604BD01E | F243614606
[5 empty] | CU 2 | Trane | 4TWA3060A4000BB | 11201L252F
[5 empty] | AH 2 | Trane | 4TEC3F60B1000AA | 12015KAF1V
[5 empty] | Mini-split CU | AirTemp | GXH12 LSA4DL | GXJ211100624
[5 empty] | Mini-split AHU | AirTemp | GXH12 LSA4DL | GHJ211202468
[10 empty] | 0 |  | 0
KB-19 | Road Operations | 12901 County Landfill Rd. | Tavares | 2 | CU 1 | Grandaire | WCA3364GKC100 | X142673996 | May |  | November |  |  | 0
[5 empty] | AH 1 | Trane | 4TEH3F36B1000AB | 9062PNY1V
[5 empty] | CU 2 | American Standard | 4AGH3036B1000AC | 12125RDSF4
[5 empty] | AH 2 | American Standard | 4TEH3F36B1000AB | 103122DB1V
[10 empty] | 0 |  | 0
KB-06 | Scalehouse | 13330 County Landfill Rd | Tavares | 1 | CU 1 | Grandaire | WCH3604GKC100 | X140566987 | May |  | November |  |  | 0
[5 empty] | AH 1 | Grandaire | WAHL604A | A142990751
[10 empty] | 0 |  | 0
GB-02 | Sheriff Aircraft Hangar | 32840 Echo Dr | Leesburg | 1 | CU 1 | Grandaire | Illegible | Illegibel | April |  | October |  |  | 0
[5 empty] | AH 1 | Nordyne | GB5BM-030K-A | GBD100200976
[10 empty] | 0 |  | 0
BB-08 | Sheriff LaGrande | 108 LaGrande Blvd | Lady Lake | 4 | CU 1 | Carrier | 38AUZA12A0B5A0A0A0 | 1011U08978 | April |  | October |  |  | 0
[5 empty] | AH 1 | Carrier | 40RUAA12A2A6A0A0A0 | 1011U08978
[10 empty] | 0 |  | 0
MB-25 | Sheriff South Substation | 15855 SR 50 | Clermont | 21 | CU 1 | Trane | TT090A300FA | 3263L JGAD | February |  | August |  |  | 0
[5 empty] | AH 1 | Trane | TWE090A300EA | 3305KXK5H
[5 empty] | CU 2 | Trane | TT090A300FA | 40320Y9AD
[5 empty] | AH 2 | Trane | TWE090A300EL | 4102L4EBD
[5 empty] | CU 3 | Trane | TTA090A300FA | 3263PE7AD
[5 empty] | AH 3 | Trane | TWE090A300EL | 4093W8KBD
[5 empty] | CU 4 | Trane | TTA090A300FA | 41325HSHD
[5 empty] | AH 4 | Trane | TWE090A300EA | N/A
[5 empty] | CU 5 | Rheem | RAWD-100CAZ | 6239F430404784
[5 empty] | AH 5 | Rheem | RHGE-100ZL | 153F160413360
[5 empty] | CU 6 | Rheem | RAWD-100CAZ | 6239F510413614
[5 empty] | AH 6 | Rheem | RHGE-100ZL | 153F370404000
[5 empty] | CU 7 | Rheem | RAWD-100CAZ | 6239F510406612
[5 empty] | AH 7 | Rheem | RHGE-100ZL | 153F370404002
[5 empty] | CU 8 | Rheem | RAWD-100CAZ | 6239F340412710
[5 empty] | AH 8 | Rheem | RHGE-100ZL | 153F370404003
[5 empty] | Package 9 | Rheem | RSNM-A024JK000 | 7579W311329333
[5 empty] | CU 10 | Mitsubishi mini-split | MUY-A24NA-1 | 8002267-T
[5 empty] | AH 10 | Mitsubishi mini-split | MSY-A24NA | 9000094
[10 empty] | 0 |  | 0
LS-20 | Sheriff Training Center | 4215 CR 561 | Tavares | 6 | CU-Mini Split | Mitsubishi mini-split | MUZ-HM24NA | 4000710 T | May |  | November |  |  | 0
[5 empty] | AH-Mini Split | Mitsubishi mini-split | MSZ-HM24NA | 4000059 T
[5 empty] | CU | Trane | TTA12043CAA01AS | 20512558YA
[5 empty] | AH | Trane | TWE24043BAA04A1 | 20421472WA
[5 empty] | CU | Trane | TTA12043CAA01AS | 20512536YA
[5 empty] | AH | Trane | N/A | N/A
[5 empty] | CU 2 | GrandAire | W5H5S60AKAAA | X250749592
[5 empty] | AH 2 | GrandAire | WCHL605BD | F250806639
[5 empty] | CU 3 | GrandAire | W5H5S48AKAAA | X250342696
[5 empty] | AH 3 | GrandAire | WCHL485AC | F251001968
[5 empty] | AH 4 | GrandAire | WCHL605BD | F250610971
[5 empty] | CU 4 | GrandAire | W5H5S60AKAAA | X244854524
[5 empty] | AH 5 | GrandAire | WCHL485AC | F251001969
[5 empty] | CU 5 | GrandAire | W5H5S48AKAAA | X250342730
[10 empty] | 0 |  | 0
HB-42 | Sheriff Vehicle Maintenance | 1925 McDonald Ave. | Eustis | 1 | CU 1 | RUUD | UPKA-035JAZ | 6510M0215737 | March |  | September |  |  | 0
[5 empty] | AH 1 | RUUD | UBHC-17J11NFD | TM060201356
[10 empty] | 0 |  | 0
KB-21 | Sheriff Visitation | 28129 CR 561 | Tavares | 6 | Package | Carrier | TWE024C14FA0 | P0553M271V | May |  | November |  |  | 0
[10 empty] | 0 |  | 0
KB-05 | Solid Waste Adminisration | 13130 County Landfill Rd. | Tavares | 16 | CU 1 | Grandaire | WCA3422GKR2 | X121969259 | May |  | November |  |  | 0
[5 empty] | AH 1 | Grandaire | JSF5BD-042KA | JSF071100140
[5 empty] | CU 2 | Grandaire | WAPM424A | A131990875
[5 empty] | AH 2 | Grandaire | GB3BM-042K-B-10B | GBB030906562
[10 empty] | 0 |  | 0
HB-73 | Supervisor of Elections | 1898 E Burleigh Ave. | Tavares | 31 | CU 1 | Carrier | 24ACC460A300 | 1218E07492 | June |  | December |  |  | 0
[5 empty] | CU 2 | Carrier | 24ACC460A300 | 1218E07517
[5 empty] | CU 3 | Carrier | 24ACC460A300 | 1218E07487
[6 empty] | Carrier | 50TJ-004—511GA | 1500G24064
[6 empty] | Carrier | 50TC-AD16A2B5A0A0G0 | 0619P12991
[5 empty] | RTU 3 | Carrier | 50HJ-007-S-521– | 2000G21160
[5 empty] | Mini Split | Carrier | 38MPRAQ12AA3 | 4020V13353
[5 empty] | RTU 2 | Carrier | 50TC-D12A2B5A0A0G0 | 0818P40815
[5 empty] | RTU 1 | Carrier/Weather Maker | 50TC-D24ABB5-0A0A0 | 4615P25903
[10 empty] | 0 |  | 0
Lease | Supervisor of Elections - Eustis Shopping Square | 218 W Ardice Ave, Unit 276 A | Eustis | 2 | CU 1 | Daikin | DFC0481D000001SAA | 2309100700 | January |  | July |  |  | 0
[5 empty] | AHU 1 | Daikin | DFC0481D000001SAA | 2308187836
[10 empty] | 0 |  | 0
AB-07 | Tower 13 | 25250 CR 42 | Paisley | 2 | Package 1 | Air temp | VP94RD-048K | VPG2212045993 | March |  | September |  |  | 0
[5 empty] | Package 2 | Air temp | VP94RD-048K | VPG2212046507
[10 empty] | 0 |  | 0
MB-24 | Tower 112 | 16300 CR 474 | Clermont | 2 | Package 1 | Grandaire | WJA442000K000K1 | F222553683 | February |  | August |  |  | 0
[5 empty] | Package 2 | Grandaire | WJA442000K000K1 | F224852292
[10 empty] | 0 |  | 0
ZZ-01 | Tower Apopka | 6578 Mt Plymouth Rd | Apopka | 2 | Package 1 | Bard | W36AB-A10 | K213894157 | March |  | September |  |  | 0
[5 empty] | Package 2 | Bard | W36AB-A10 | J213888760
[10 empty] | 0 |  | 0
KB-15 | Tower-Astatula | 26312 CR 561 | Astatula | 2 | Package 1 | Grandaire | WJA460000K000K1 | F221550741 | May |  | November |  |  | 0
[5 empty] | Package 2 | Grandaire | WJA460000K000K1 | F222350849
[10 empty] | 0 |  | 0
AB-15 | Tower-Astor | 23025 SR 40 | Astor | 2 | Package 1 | Bard | WA421-A00 | 126H021738713-02 | January |  | July |  |  | 0
[5 empty] | Package 2 | Bard | WA421-A00 | 126F021738720-02
[10 empty] | 0 |  | 0
MB-20 | Tower-Buckhill | 21923 S Buckhill Rd. | Clermont | 2 | Package 1 | Grandaire | WJA442000K000K1 | F222954032 | February |  | August |  |  | 0
[5 empty] | Package 2 | Grandaire | WJA442000K000K1 | F223151467
[10 empty] | 0 |  | 0
MB-17 | Tower-Groveland | 12331 Dry Fork Rd. | Groveland | 2 | Package 1 | Concord | PRPAC1460EP-2A | 1621K0322 | February |  | August |  |  | 0
[5 empty] | Package 2 | Grandaire | WJA460000K000K1 | F222954257
[10 empty] | 0 |  | 0
BB-09 | Tower-Lady Lake | 1113 Teal Ln. | Lady Lake | 4 | Package 1 | Bard | W42AC-A00 | 349C213847839-02 | April |  | October |  |  | 0
[5 empty] | Package 2 | Bard | W42AC-A00 | 349C213847840-02
[10 empty] | 0 |  | 0
FB-13 | Tower Leesburg DOT | 548 S 14th St. | Leesburg | 2 | Package 1 | Marvair | AVP42ACA050NU-100 | BV-F000113562-000-001 | April |  | October |  |  | 0
[5 empty] | Package 2 | Marvair | AVP42ACA050NU-100 | Unknown
[10 empty] | 0 |  | 0
FB-14 | Tower- Leesburg Mall Water | 10399 US HWY 441 | Leesburg | 2 | Package 1 | Marvair | AVP42A050NU-100 | AV-F000113534-000-005 | April |  | October |  |  | 0
[5 empty] | Package 2 | GrandAire | WJA336000K000A1 | X103094013
[10 empty] | 0 |  | 0
JB-18 | Tower-Leeeburg Water Treatment | 1550 CR 470 | Okahumpka | 2 | Package 1 | Marvair | AVP42ACA050NU-100 | AV-F000113381-000-001 | June |  | December |  |  | 0
[5 empty] | Package 2 | Marvair | AVP42ACA050NU-100 | N/A
[10 empty] | 0 |  | 0
MB-21 | Tower Minneola | 18250 Scrub Jay | Clermont | 2 | Package 1 | Air temp | VP94RD-042K | VPG2301048223 | February |  | August |  |  | 0
[5 empty] | Package 2 | Air temp | VP94RD-042K | VPG2301040310
[10 empty] | 0 |  | 0
HB-57 | Tower Mt. Dora Water Treatment | 1870 SR 46 | Mt. Dora | 2 | Package 1 | Marvair | AVPA42ACA050N-A5-100 | EE-F139260-0-7 | March |  | September |  |  | 0
[5 empty] | Package 2 | Marvair | AVPA42ACA050N-A5-100 | EE-F139260-0-1
[10 empty] | 0 |  | 0
MB-22 | Tower-Orange Mountain | 8325 N Bradshaw Rd. | Clermont | 2 | Package 1 | Marvair | AVP42ACA05NU-100G5 | DT-F000107612-000-002 | February |  | August |  |  | 0
[5 empty] | Package 2 | Marvair | AVP42ACA05NU-100G5 | ET-F000107663-000-001
[10 empty] | 0 |  | 0
MB-23 | Tower-Progress Energy | 14237 SR 50 | Clermont | 2 | Package 1 | Bard | W42A2-A00 | 318P153290710-02 | February |  | August |  |  | 0
[5 empty] | Package 2 | Bard | WA421-A15 | 126A021703707-02
[10 empty] | 0 |  | 0
AB-16 | Tower-Royal Trails | 30301 Seagrape Ave. | Eustis | 2 | Package 1 | Marvair | AVP42ACA050NV | AVF000113534000-001 | March |  | September |  |  | 0
[5 empty] | Package 2 | Marvair | AVP42ACA050NV | AVF000
[10 empty] | 0 |  | 0
IB-05 | Tower-Sorrento | 27020 CR 46A | Sorrento | 2 | Package 1 | Bard | WA-421-A15 | 126F021928585-02 | March |  | September |  |  | 0
[5 empty] | Package 2 | Bard | WA-421-A15 | 126F021728590-02
[10 empty] | 0 |  | 0
HB-58 | Tower-Tavares | 316 N Ingraham Ave. | Tavares | 2 | Package 1 | Grandaire | WJS460000KTP0A1 | F213457237 | May |  | November |  |  | 0
[5 empty] | Package 2 | Grandaire | WJS460000KTP0A1 | F213457235
[10 empty] | 0 |  | 0
CB-18 | Tower-Umatilla SBA | 19430 E 3rd St. | Umatilla | 2 | Package 1 | Marvair | AVP42ACA050NU-100 | BV-F000113664-000-009 | January |  | July |  |  | 0
[5 empty] | Package 2 | Marvair | AVP42ACA050NU-100 | BV-F000113664-000-003
[10 empty] | 0 |  | 0
KB-11 | Traffic Operations | 28127 CR 561 | Tavares | 5 | CU 1 | Grandaire | JS4BD-048KA | JSD091201857 | May |  | November |  |  | 0
[5 empty] | AH 1 | Grandaire | GB5BM-048K-C | 920945GD
[5 empty] | CU 2 | Grandaire | JS5BD-024KB | JSA090708730
[5 empty] | AH 2 | Grandaire | GB3BM-024K-A-10B | GBB030617005
[5 empty] | CU 3 | Grandaire | JS3BA-060KA | JSA030200515
[5 empty] | AH 3 | Grandaire | GB3BM-060K-C-10B | GBB030203475
[5 empty] | CU 4 | Grandaire | JS5BD-024KA | JSF071005526
[5 empty] | AH 4 | Trane | TWE024C14FAO | P0553M2TV
[10 empty] | 0 |  | 0
FB-15 | Transit Services | 2440 US HWY 441/27 | Leesburg | 1 | CU | ICP | WCA3604GKA1 | X103370302 | April |  | October |  |  | 0
[5 empty] | AH | Trane | 4TEH3F60B100AB | 103122DB1V
[10 empty] | 0 |  | 0
KB-04 | Water Resource Lab | 12923 County Landfill Rd. | Tavares | 2 | Package | Aaon | CC100693 | 200905-CHCA00869 | May |  | November |  |  | 0
[5 empty] | Package | Aaon | Not legible | 200905-CBEB03743
[5 empty] | CU | Grandaire | JS5BD-060KA | JSF080702051
[5 empty] | AH | Grandaire | GB5BM-T60K-C | GBD080613691
[10 empty] | 0 |  | 0
KB-17 | WMFO - PW Engineering | 12929 County Landfill Rd. | Tavares | 7 | CU 1 | Grandaire | WCH4604GKB100 | X170694837 | May |  | November |  |  | 0
[5 empty] | AH 1 | Grandaire | GB5BM-048K-C | GBD090700222
[5 empty] | CU 2 | Grandaire | WCA3244GKA1 | X103168461
[5 empty] | AH 2 | Grandaire | WAHM244A2 | A113271064
[5 empty] | CU 3 | Grandaire | WCA3244GKA1 | X103168107
[5 empty] | AH 3 | Grandaire | WAHM244A2 | A103870358
[10 empty] | 0 |  | 0
Building Code | Building | Address | City | Filter Quantity | Unit | Manufacturer | Model # | Serial # | Month Due | Semi-Annual Cost | Month Due | Annual Cost | Monthly Filter Change | Total Cost
HB-78 | EMS 121 - Lake Tech | 2001 Kurt St. | Eustis | 1 | CU 1 | Nordyne | JS580-036KA | J5A070709102 | January |  | July |  |  | 0
[5 empty] | AH 1 | Nordyne | GB5BM-T36K-B-10 | HBA070701349
[10 empty] | 0 |  | 0 | 0
IB-06 | EMS 131 | 26201 FL 44 | Eustis | 1 | Package | BARD | WA-361 | 1258971084428-02 | March |  | September |  |  | 0
[10 empty] | 0 |  | 0 | 0
HB-75 | EMS 141 | 702 S Grove St | Eustis | 1 | CU 1 | Illegible | Illegible | Illegible | January |  | July |  |  | 0
[5 empty] | AH 1 | American Standard | TWV036814FA1 | H11346161
[10 empty] | 0 |  | 0 | 0
MB-06 | EMS 351 - South Battalion Chief | 609 S Disston Ave. | Minneola | 2 | Package | Air Temp/Nortek | VP7RE-042K | VPF160705014 | February |  | August |  |  | 0
[10 empty] | 0 |  | 0 | 0
JB-19 | EMS Support | 2345 S 14th St. | Leesburg | 12 | CU 1 | Carrier | 38AUZA08A0B5A0A0A0 | 0716C93092 | June |  | December |  |  | 0
[5 empty] | AH 1 | Carrier | 40RUAA08A2A6-0A0A0 | 3515E16646
[5 empty] | CU 1 | Ruud | RAWL-091CAZ | W391902814
[5 empty] | AH 1 | Rheem | RHGL-090HK | F481900382
[10 empty] | 0 |  | 0 | 0
LB-01 | Fire Rescue Training | 20763 US HWY 27 | Groveland | 7 | CU 1 | Grandaire | WCH4484GKB100 | X181080750 | June |  | December |  |  | 0
[5 empty] | AH 1 | Grandaire | WAHL484B | F181014373
[5 empty] | CU 2 | Grandaire | WCH4484GKB100 | X181080510
[5 empty] | AH 2 | Grandaire | GB5BM-T49K-C-10 | GBD070813510
[10 empty] | 0 |  | 0
AB-12 | FS 10 | 23023 SR 40 | Astor | 1 | CU | Grandaire/Nordyne | JS5BD-060KA | JSF080505540 | January |  | July |  |  | 0
[5 empty] | AH | Grandaire/Nordyne | GB5BM-T60-K-C | GBD080613686
[10 empty] | 0 |  | 0 | 0
AB-04 | FS 11 | 47544 SR 19 | Altoona | 1 | CU | Grandaire | WCH4364GKB200 | X161064737 | January |  | July |  |  | 0
[5 empty] | AH | Grandaire | WAHL364B | A160667972
[10 empty] | 0 |  | 0 | 0
AB-18 | FS 13 | 25250 CR 42 | Paisley | 2 | CU 1 | Trane | 4TTB306DA1000 BB | 10061UNT5F | March |  | September |  |  | 0
[5 empty] | AH 1 | Trane | 4TEC3F60B1000AA | 10025MPP1V
[5 empty] | CU 2 | Trane | 4TTB3036B1000BA | 10033SUG3F
[5 empty] | AH 2 | Trane | 4TEC3F36B1000AA | 10053HRL1V
[5 empty] | CU Mini Split | Mitsubishi | MUZ-GS09NA | 49C09590
[5 empty] | AH Mini Split | Mitsubishi | MSZ-GS09NA | 49E07220
[10 empty] | 0 |  | 0 | 0
AB-19 | FS 14 | 18840 SR 42 | Altoona | 2 | CU 1 | Trane | 4TTR6036J1000AA | 17115TTU5F | March |  | September |  |  | 0
[5 empty] | AH 1 | Trane | TEM6A0C36H31SAA | 1720118W3V
[5 empty] | CU 2 | Trane | 4TTR6060J1000AA | 172218N42F
[5 empty] | AH 2 | Trane | TEM6AOD60H51SAA | 171723G93V
[10 empty] | 0 |  | 0 | 0
EB-02 | FS 15 | 40601 Palm Dr. | Pine Lakes | 2 | CU | Grandaire | JS5BD-036KB | JSF081000240 | March |  | September |  |  | 0
[5 empty] | AH | Grandaire | B5VM-T36K-B | B5D06061723
[10 empty] | 0 |  | 0 | 0
CB-02 | FS 19 | 38816 Carroll St | Umatilla | 1 | CU |  | 4HP15L36P-230-1 | 1919A39551 | January |  | July |  |  | 0
[5 empty] | AH |  | BCE5C36MA4X | J41353673
[10 empty] | 0 |  | 0 | 0
CB-01 | FS 20 | 37711 SR 19 | Umatilla | 1 | CU 1 | Grandaire | WCA3364GKA1 | X103066539 | January |  | July |  |  | 0
[5 empty] | AH 1 | Grandaire | WAHM364A | A110873942
[5 empty] | CU 2 | Grandaire | W4H5S36AKAAAABAA | X243685071
[5 empty] | AH 2 | Grandaire | WBHL364AB01E | F244032775
[10 empty] | 0 |  | 0 | 0
EB-01 | FS 21 | 25100 CR 44A | Eustis | 1 | CU | Grandaire | WCA3422GKR1 | X112369150 | March |  | September |  |  | 0
[5 empty] | AH | Grandaire | GB3BM-042K-B-10B | GBD050613657
[10 empty] | 0 |  | 0 | 0
IB-01 | FS 27 | 19212 SR 44 | Eustis | 3 | CU 1 | Air Temp | VSA3BE4M1SN36K | VSG2212023059 | March |  | September |  |  | 0
[5 empty] | AH 1 | Air Temp | B64BMMX36K-B | B6G2212014376
[5 empty] | CU 2 | Grandaire | WCH3304GKB1 | X142469735
[5 empty] | AH 2 | International comfort | WAPM304A | A142369229
[10 empty] | 0 |  | 0 | 0
IB-03 | FS 39 (old) | 31431 Walton Health | Sorrento | 1 | CU 1 | Grandaire | JS5BD-030KB | JSA090507253 | March |  | September |  |  | 0
[5 empty] | AH 1 | Grandaire | GB58M-030K-A | GBD090701422
[10 empty] | 0 |  | 0 | 0
IB-04 | FS 39 | 24815 Wallick Rd. | Sorrento | 4 | CU 1-1 | Lennox | EL18XCVS060-230A02 | 5822K10144 | March |  | September |  |  | 0
[5 empty] | AHU 1-1 | Lennox | CBA38MV-060-230-6-02 | 1622K25879
[5 empty] | CU 1-2 | Lennox | EL18XCVS060-230A02 | 5822K10159
[5 empty] | AHU 1-2 | Lennox | CBA38MV-060-230-6-02 | 1622K25918
[5 empty] | CU 1-3 | Lennox | ML17XC1-024-230A01 | 1922L83246
[5 empty] | AHU 1-3 | Lennox | CBA25UHV-024-230A02 | 1922L83246
[5 empty] | CU 2-1 | Lennox | EL18XCVS060-230A02 | 5822K10156
[5 empty] | AHU 2-1 | Lennox | CBA38MV-060-230-6-02 | 1622K25920
[10 empty] | 0 |  | 0 | 0
BB-02 | FS 52 | 306 W Hermosa St. | Lady Lake | 3 | CU 1 | Grandaire | WCA4604GKA100 | X182684520 | April |  | October |  |  | 0
[5 empty] | AH 1 | Grandaire | WAXL604A | F182471001
[5 empty] | CU 2 | Grandaire | GSZB403610AA | 2310018172
[5 empty] | AH 2 | Grandaire | AMST36CU1400BA | 2403090984
BB-04 | FS 53 | 2505 Spring Lake Rd. | Fruitland Park | 1 | CU | Grandaire | WCH4364GKB200 | X171459845 | April |  | October |  |  | 0
[5 empty] | AH | Grandaire | WAHL364B | A172571964
BB-05 | FS 54 | 6200 Lake Griffin Rd. | Lady Lake | 3 | CU | Grandaire | JS4BD-048KA | JSD091000675 | April |  | October |  |  | 0
[5 empty] | AH | Concord | BCE5C48MA19-50 | 1519A24792
[10 empty] | 0 |  | 0 | 0
FB-01 | FS 59 | 1201 Lewis Rd. | Leesburg | 1 | CU | Rheem | RP1536AJ1NA | W041830781 | April |  | October |  |  | 0
[5 empty] | AH | Rheem | RH1T3617STANJA | W491714015
[10 empty] | 0 |  | 0 | 0
GB-01 | FS 70 | 531 Sunnyside Dr. | Leesburg | 1 | CU | Grandaire | JS5BD-060KA | JSF070500010 | April |  | October |  |  | 0
[5 empty] | AH | Grandaire | GB5BM-T60K-C-10 | GBD070603930
[10 empty] | 0 |  | 0 | 0
GB-05 | FS 71 | 11305 Park Ave. | Leesburg | 1 | CU | Grandaire | JS4BD-048KA | JSD090500307 | January |  | July |  |  | 0
[5 empty] | AH | Grandaire | GB5BM-048K-C | GBD100606074
[10 empty] | 0 |  | 0 | 0
CB-17 | FS 72 | 12340 CR 44 | Leesburg | 1 | CU | Grandaire | WCA3602GKR2 | X131566116 | January |  | July |  |  | 0
[5 empty] | AH | Grandaire | GB38M-060K-C-10B | GBB030600862
[10 empty] | 0 |  | 0 | 0
JB-03 | FS 76 | 8819 CR 48 | Yalaha | 2 | CU | Grandaire | WCA4364GKA170 | X223368799 | June |  | December |  |  | 0
[5 empty] | AHU | Grandaire | WAHL364B09E | F223144653
[10 empty] | 0 |  | 0 | 0
KB-13 | FS 77 | 25028 Kirkwood Ave. | Astatula | 1 | Package Unit | Grandaire | WJH460000KTP0A1 | C153598147 | June |  | December |  |  | 0
[10 empty] | 0 |  | 0 | 0
KB-18 | FS 78 | 16345 CR 448 | Mt. Dora | 5 | CU | Carrier | 3807G10128 | 38ARZ008-501 | May |  | November |  |  | 0
[5 empty] | AH | Carrier | 40RM-008-8611HC | 3907U30792
[5 empty] | Mini Split | Carrier | AOU18RLX | CQN001874
[10 empty] | 0 |  | 0 | 0
JB-02 | FS 82 | 24939 US HWY 27 | Leesburg | 1 | CU | Grandaire | W4H5S36AKAAAABAA | X244572489 | June |  | December |  |  | 0
[5 empty] | AH | Grandaire | WBHL364AB01E | F244032659
[10 empty] | 0 |  | 0 | 0
NB-03 | FS 109 | 11630 Lakeshore Dr. | Clermont | 2 | CU 1 | Grandaire | JS3BA-024KA | JSA040605370 | February |  | August |  |  | 0
[5 empty] | AH 1 | Grandaire | BWV024A100C0 | W09359365
[5 empty] | CU 2 | Grandaire | JS3BA-024KA | JSA050400120
[5 empty] | AH 2 | Grandaire | GB5BM-T25K-A-05 | GBA060503276
[10 empty] | 0 |  | 0 | 0
NB-04 | FS 110 | 6234 CR 561 | Clermont | 1 | CU | Grandaire | XP19-036-230-05 | 5809F21288 | February |  | August |  |  | 0
[5 empty] | AH | Grandaire | CBX32MV-036-230-6-05 | 5809G01687
[10 empty] | 0 |  | 0 | 0
NB-05 | FS 111 | 8805 Bay Lake Rd. | Groveland | 1 | CU | Grandaire | JS4BD-030KB | JSD100102177 | February |  | August |  |  | 0
[5 empty] | AH | Grandaire | GB5BM-030K-A | GBD100408187
[10 empty] | 0 |  | 0 | 0
OB-02 | FS 112 | 16240 CR 474 | Clermont | 1 | CU | Grandaire | JS5BD-060KA | JSF070504035 | February |  | August |  |  | 0
[5 empty] | AH | Bryant | FKACNB006 | 2402A70823
[10 empty] | 0 |  | 0 | 0
*The total annual cost for filter changes is for ten (10) months as it exlcudes the cost of the PM services
Note on C26: Shelton, Christina: The address is incorrect and should be 12280 CR 448, Tavares
Note on F26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check equipment information for accuracy Reply: AH!