Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: EMS Medical Supplies and Equipment				04/17/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of each addendum must be submitted along with the solicitation response. Failure to acknowledge any addendum may result in the submission being disqualified from award consideration.

THIS ADDENDUM CHANGES THE BID DUE DATE FROM 04/23/2026 TO 04/29/2026.

NOTE TO VENDORS:

See REVISED Attachment 3 – Pricing Form now posted here.

QUESTIONS/RESPONSES

- Can you please provide the bid tabulation from the previous bid indicating the award pricing per item and winning vendor?

  - See the below links:

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504A.pdf

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504B.pdf

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504C.pdf

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504D.pdf

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504F.pdf

https://c.lakecountyfl.gov/ProcurementDocuments/term-supply_contracts/21-0504G.pdf

- We are interested in bidding on the nitrile gloves. How many delivery locations are there? How often are the gloves ordered and how many are generally ordered at one time.

  - See bid documents Scope of Work - Delivery and Availability. This is an on-call, as needed contract. Order amounts are unknown at this time.

- Section 2.1 Named as Additional Insured: X is covered by the custom manuscript insurance policy of its ultimate parent, Y, which is a Fortune 9 Company.  This custom policy allows other parties to be included as additional insured where required by written contract, such as a contract resulting from this solicitation if X were the awardee.  Therefore, the County would be included as an additional insured instead of being named as an additional insured on applicable insurance if X is awarded a contract resulting from this solicitation.

  - Listing Lake County as Additional Insured and Certificate Holder on the Certificate of Insurance is acceptable.

- Section 4 – Policy Endorsements:  X is able to provide a standard blanket endorsement. This type of endorsement automatically treats the contract party as additional insureds when required by written contract. Coverage applies only to the extent required by the agreement and the County’s name won’t be on the endorsement.

  - We will accept the blanket endorsements for Additional Insured and Waiver of Subrogation.

- Section 7.1 Copies of any Insurance Policies: X’s insurance policies are proprietary and cannot be provided. X can, however, provide Certificates of Insurance outlining coverage that functionally meets the County’s requirements.

  - Lake County does not need a copy of the insurance policies, only the applicable policy endorsements for AI and WOS.

- Does the Logistics location in Leesburg have a loading dock or forklift for pallet deliveries?

  - Yes.

- Per the soft stretcher (megamover) bid, are you wanting the logo and phone number added on the stretchers by the manufacturer?

  - No.

- 1-1261 and FIRE Scort III have the same current Ref#- are these duplicates or should one have a different #?

  - See REVISED Pricing Sheet.

- 1-1156 (S-Scort III Rubber Bracket) and 1-1223 (S-Scort Vacuum Gauge) does not use anything on the 74000 that fits that description. FIRE (S-Scort III Fuse – 5amp/250v) is not sold individually as it is inextricable from the wiring harness, 80952. Will these lines be removed?

  - See REVISED Pricing Sheet.

- Lifeline Arm RCF-A1000EN is no longer valid. Please confirm correct number.

  - See REVISED Pricing Sheet.

- 1-1382 I-gel Resus Pack Size 2 is not available, should this be a single tube?

  - See REVISED Pricing Sheet.

- FIRE (O2 regulator – MREG8725-B2D) and LCFR (Meret magnum oxygen regulator – EMSMREG8725-B2D) appear to be duplicates, should one be removed?

  - See REVISED Pricing Sheet.

- FIRE (O2 rings – Cramer Decker – 499-0776) item number and manufacturer do not match – which one is correct?

  - Vendors are not required to enter a response in this area.

- Manufacturer and Item # needed for 1-1468 (Bactroa; /virl bvm filter).

  - See REVISED Pricing Sheet.

- 1-1398 (CPAP disposable w/manometer – O-two – 01CV0211) is not a valid item number, please clarify.

  - See REVISED Pricing Sheet.

- 1-1126 (ETC02 capnoline plus adult - 10210) and 1-1127 ETC02 capnoline plus pedi - 007269) item numbers are no longer valid, will you accept substitutes?

  - Yes.

- 1-1273 (Flow meter), incorrect Manufacturer and Item number, should this be Precision Medical 5MFA1002.

  - See REVISED Pricing Sheet.

- 1-1255 (Laryngoscope handle) manufacturer is incorrect, please verify.

  - See REVISED Pricing Sheet.

- Need valid item numbers for 1-1215 (LP 15 NIBP cuff automatic), 8-2006 (LP 15 NIBP automatic), 8-2007 (LP 15 NIBP cuff automatic) and 1-1344 (LP 15 NIBP coiled hose 9’).

  - See REVISED Pricing Sheet.

- Need valid item number for 1-1167 (Mask O2 nonrebreather).

  - See REVISED Pricing Sheet.

- Clarify item number for 1-1112 (Mask n95/3m-particulate respirator).

  - See REVISED Pricing Sheet.

- Curaplex is exclusive to one distributor, will substitutes be allowed for 8-2003 (Mega patient mover – 3246-12345)?

  - Yes.

- Need valid item number for 1-1172 (Nasal cannula pedi) or allowable substitute.

  - See REVISED Pricing Sheet.

- Item has been discontinued, will substitutes be acceptable for 1-1201 (Sharps container – 31144010)?

  - Yes.

- Curaplex is exclusive to one distributor, will substitutes be allowed for 1-1247 (Shears bandage – 2811-05524)?

  - Yes.

- ADI number needed for 1-1109 (Tourniquet latex free – EFA 350110).

  - See REVISED Pricing Sheet.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.