Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Paving and Striping Services				03/26/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of each addendum must be submitted along with the solicitation response. Failure to acknowledge any addendum may result in the submission being disqualified from award consideration.

THIS ADDENDUM DOES NOT ALTER THE PROPOSAL SUBMISSION DEADLINE.

QUESTIONS/RESPONSES

- Can the striping item 1 be changed to SF since stripes vary in width?

  - No. Striping will remain linear feet, anticipate 4” lines and if the project requires 6” or 8” lines this will fall under additional services / items.

- Is there a minimum, maximum or average of area(s) for repair that can be anticipated with each location?

  - No. There are no anticipated guaranteed quantities.

- Are the pricing submitted in the Solicitation to be the only prices utilized on each proposal submitted?

  - No. Please read the following under item #20 of the pricing reads “The County reserves the right to negotiate with the awarded vendor for additional services / items”.

- Please clarify the intent of the second paragraph in the Scope of Work?

  - The best value to the County isn’t just price but availability by the contractor and timeframe to complete the project and there could be other factors to be considered. (Example: “Emergency Projects”)

- How will removal/reset of wheel stops be paid?

  - Structure the removal / reset of wheel stops in your mobilization cost.

- What size of signs is intended for pay item 13, Signs and Posts?

  - Vendor shall consider Pay item 14 “Signs & Posts” as an optional line item.

- Scope of Work indicates the possibility of “Asphalt Emulsion Sealcoating” which outlines “crack sealer, chemical herbicide”. How is this work to be paid for?

  - Section 1.2 indicates 100 % turnkey projects if needed the Contractor will include these associated costs in their bid proposal.

- Asphalt repairs, section 2.2.4 indicates to place S III hot mix asphalt. Can an approved FDOT alternate mix design be utilized?

  - Yes, if approved by the County Project Manager.

- 8’” x 8” ribbon curb: Scope of work indicates to install proper base material. What is considered proper base material and how thick and wide is it needed?

  - 6” minimum of lime rock or crushed concrete base.

- Will all work be contained within parking lots/areas? Will any work require Maintenance of Traffic devices, lane closures?

  - Yes. MOT will be required since the County has trails and facilities which may require this additional line item.

- Paragraph 1.2 states that the Contractor is to provide all-inclusive quotes to provide 100% turnkey projects that include common installation, repairs, preventative maintenance, and replacement of fixtures/equipment. What types of preventative maintenance, replacement of fixtures/equipment is expected under this solicitation/contract?

  - Types of Preventative maintenance – seal coating, replacement of fixtures – wheel stops, signs / posts.

- Paragraph 1.5 indicates that all permits and fees (including inspection fees) as required to comply with all laws, ordinances, regulations and code requirements applicable to complete project. Will these fees be reimbursable? What fee structure should be anticipated?

  - No. These fees will not be reimbursable and anticipated fee structures will be based on permit fees if applicable or a failed inspection.

- Paragraph 1.6 states that the Contractor shall furnish all tools and equipment (possibly cranes, lift trucks, boom trucks, cherry pickers, etc. to complete projects timely. Given this is a paving contract, what is the expectation for providing the equipment outlined? This type of equipment is not common to base and pavement work?

  - Correct. Equipment not commonly used for pavement work would fall under additional items if needed for projects.

- Is there a requirement for any Quality Control Testing? If so, what kind and how much?

  - Contractor must provide compaction test results demonstrating that subgrade has been compacted to 98% AASHTO T-180 prior to pouring concrete and construction of asphalt roads/trails.

- Does this bid require a bond?

  - No. Projects that require a bond will be bid out separately.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.