Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Paving and Striping Services				04/01/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of each addendum must be submitted along with the solicitation response. Failure to acknowledge any addendum may result in the submission being disqualified from award consideration.

THIS ADDENDUM DOES NOT ALTER THE PROPOSAL SUBMISSION DEADLINE.

QUESTIONS/RESPONSES

- Bid Item 5, Asphalt Removal: What is the depth anticipated for this item? This bid item does not appear to have a scope of work.

  - Contractor should anticipate 3-4” of asphalt as an average.

- Bid Item 6, Asphalt Repair: Scope paragraph 2.2.3 would indicate that the cost of limerock and paving is to be included in this bid item, however, there are other bid items such as limerock installation that appear to be for this scope of work. Please clarify what is to be included in Asphalt Repair.

  - Contactors are expected to bid asphalt repairs to include proper base repair/installation, etc. Follow industry standards.

- Will QC testing be required for limerock and asphalt? Examples, density, FDOT QCCR Report?

- Contractors must provide compaction test results demonstrating that subgrade has been compacted to 98% AASHTO T-180 prior to pouring concrete and construction of asphalt roads/trails.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.