- CONTRACTOR RESPONSIBILITIES

  - Contractor shall provide all materials, equipment, fuel, labor, tools, and supervision to furnish and install windscreens and protective netting barriers for various County properties on an as needed basis and as directed in this Scope of Services.  All work and equipment shall be in strict compliance with the latest codes, standards and practices.

    - No storage of materials shall take place on County property.

    - Contractor shall deliver and install the identified windscreen(s) within the time agreed.

      - The County reserves the right to refuse services if delivery is not timely.

      - No compensation shall be made for refused services.

    - County will consider other manufactured products that meet or exceed the requirements at an equal or lesser cost.

      - County will evaluate the manufacturer’s catalog information, product and technical data for evaluation of an acceptance or equal alternate product.

      - County will be the sole judge of equality, based on the best interests of the County, and its decision in this regard shall be final.

    - The Contractor shall make no changes to any design, image, or wording to any requested prints without written approval from the County accompanying the proposed changes.  This is inclusive but not limited to: image, color, sizing, aspect ratios, verbiage, spelling, and/or placement.

    - If any changes occur without written County approval, the County reserves the right to reject the products at no cost to the County.

  - Contractor may negotiate with the County for unanticipated products similar in nature but not specifically identified in this bid.  Items such as new products, proprietary products, or unanticipated needs identified as being in the best interest of the County may be addressed on an as needed basis.

- STANDARD WINDSCREENS:

  - Minimum standard for the type of windscreen material to be provided:

    - Windscreen must have a minimum of a three (3) year warranty.

    - Windscreen shall be black.

    - Windscreen minimum height shall be 5 feet.

    - Windscreen maximum height shall be 8 feet.

    - Vinyl coated Polyester-Fabric 50% vinyl, 50% polyester, open (VCP)-9x12 weave.

    - Windbreak: open-80%.

    - Weight per square yard: Open-7 oz.

    - Tensile strength: open 230 x 200

    - Screen to be installed with breakaway ties on top and sides with rope on the bottom which shall be included with bid price

    - Windscreen to be installed on all gates and shall be included with bid price

- PRIVACY WINDSCREENS:

  - Color will be variable based on availability.

  - Must have a minimum (3) three-year warranty.

  - Must have a density/opacity rating higher of 90% or higher.

  - Must be high density knitted polypropylene or polyethylene.

  - Must have all-round reinforced hem.

  - Uses brass grommet attachments appropriately space for size.

  - Screen to be installed with breakaway ties on top and sides with rope on the bottom which shall be included with bid price

  - Installation shall be included in the price.

- SCREEN PRINTED WINDSCREENS:

  - Must have a minimum (3) three-year warranty.

  - Must have a minimum (3) three color printing capability.

  - Must be high density knitted polypropylene or polyethylene.

  - Must use brass grommet attachments appropriately space for size.

  - Must have Ultraviolet (UV) coating to protect images.

  - Screen to be installed with breakaway ties on top and sides with rope on the bottom which shall be included with bid price.

  - Installation shall be included in the price.

  - NOTE: When calculating price on the pricing sheet, contractor should provide price based on individual screen prints as well as cost for the windscreen itself. (i.e. A 200-foot run of windscreen may have only one screen printed image. By contrast it could also have a print every 20 feet.) Listing the cost of each print separate from the windscreen itself will give more accurate pricing.

- PRINTED WINDSCREENS:

  - Must have a minimum (3) three-year warranty.

  - Must have the ability for full frame printing.

  - Will be utilized as wording, logos, or full fence murals.

  - Must be high density knitted polypropylene or polyethylene.

  - Must use brass grommet attachments appropriately space for size.

  - Must have Ultraviolet (UV) coating to protect images.

  - Screen to be installed with breakaway ties on top and sides with rope on the bottom which shall be included with bid price

  - Installation shall be included in the price.

- PROTECTIVE NETTING BARRIERS:

  - Minimum standard for the type of protective netting barriers to be provided:

    - Wooden structural pressure treated posts set ten (10) feet in ground.

      - Call 811 before excavation for utility location services.

      - Post holes to be hand dug to avoid any utilities not located by 811 services.

      - Within County owned properties, call the Lake County Office of Parks and Water Resources, 352-253-4950.

    - 1-3/4” square mesh or approved equal.

    - Stainless hardware for all fasteners.

    - Galvanized cables (Galvanized ¼” aircraft cable).

- COUNTY RESPONSIBILITIES

  - The County will provide high quality vectorized graphics or images in an appropriate Dots Per Inch (DPI) scale to the awarded contractor based on the needs identified by the County.

  - The County will at times require meetings with the awarded contractor to identify capabilities and limitations of the printing process.

  - The County will provide written approval/denial of any changes to any design, image, or wording proposed by the contractor.

  - The County reserves the right to negotiate with the Contractor for unanticipated products similar in nature but not specifically identified in this bid.  Items such as new products, proprietary products, or unanticipated needs identified as being in the best interest of the County may be addressed on an as needed basis.

[The remainder of this page intentionally left blank]