- SCOPE OF WORK

A “qualified licensed contractor” (hereinafter “Contractor”) shall furnish all labor, materials, equipment, component/devices, transportation, fuel, supervision, surveying, permits, inspections, and all other incidentals necessary to complete all necessary work, all in accordance with all parts of this solicitation.

Vendors are advised that the Scope of Work represents the minimum requirements desired by the County. Vendors are encouraged to propose a solution within the budgeted value of $175,000 and shall not exceed this total amount. Award will be made to the vendor offering the best value purchase within the available budget. The County’s decision in this regard shall be considered final.

- BASE BID

  - Contractor shall remove and properly dispose of the existing playground (See photo labeled Current Playground) at North Lake Regional Park – 40730 Roger Giles Rd., Umatilla, FL 32784.

  - Contractor shall furnish and install all inclusively, a turnkey, new Playground Boss Product Playground (see photo labeled New Playground), or equal, at North Lake Regional Park – 40730 Roger Giles Rd., Umatilla, FL 32784.

    - ADA mulch to be provided by Lake County if needed. Playground color to be determined by the Office of Parks and Water Resources Project Manager.

2.3	The playground equipment shall include play components for children ages 5 – 12. The equipment may be provided in one or more structures.

2.4	The playground should accommodate the widest possible range of activities that will provide fun, promote physical fitness, and encourage social interaction.

2.5	Playground shall meet all requirements of the American Society for Testing and Materials (ASTM), Consumer Product Safety Commission (CPSC) and be International Play Equipment Manufacturers Association (IPEMA) certified.

- EQUAL PRODUCT CONSIDERATION

County is solely responsible determining whether any equivalent submission fully meets the salient characteristic requirements.

- CONTRACTOR RESPONSIBILITIES

CONTRACTOR SHALL:

  - Maintain an active Certified or Registered Florida Building Contractor or General Contractor license for the duration of the project.

  - Follow the 2023 Florida Building Code Eighth Edition Accessibility 1008 Play Areas.

  - Be responsible for planning and providing perimeter site fencing and signage as required to ensure the safety and security of the site from the public, including park neighbors and visitors, children, and staff, during construction as well as after park hours. The park shall remain open for public use during work.

  - Be responsible for initiating, maintaining, and supervising all safety precautions in connection with the work and throughout the contract term. Contractor shall erect and maintain all reasonable safeguards for safety and protection, including posting danger signs and other warning signs against hazards. It is the responsibility of the Contractor to provide a safe environment for park patrons and shall monitor and maintain fencing/barricades to ensure continued safety.

  - Be responsible for all related costs/fees.

  - Be responsible for obtaining engineering drawings for any footings at Contractors expense.

  - Complete all work within ninety (90) calendar days of issuance of a Purchase Order, unless manufacturers lead time requires additional time.

  - Be responsible for locating/identifying all utilities before starting construction, take every precaution to avoid damage to any underground utility, and be responsible for any damage caused to the existing utilities. Contractors shall be responsible for any damage or any subcontractors’ damage to an existing utility and shall repair the same at their own cost.

  - Remove and relocate existing fencing and park signs/kiosks as necessary for the construction of proposed park improvements.

  - Be responsible for debris/trash management and provide a clean work environment. Remove all excess materials, soil, debris, and idle equipment. Any spoils created become the property of the Contractor and shall be disposed of in a legal and proper manner. A dumpster shall be on site and provided by the Contractor. All construction debris, discarded materials, and trash shall be cleaned daily. No discarded construction material shall be dumped or remain on site unless contained within a Contractor provided dumpster. Dumpsters shall be properly maintained to prevent overflow of debris.

  - Be responsible for re-grading and re-sodding all areas impacted by construction for the new facilities. Contractors shall provide all the required sod. No grass seeding is allowed.

  - Provide a timeline/work schedule and a detailed cost breakdown (schedule of values) at the preconstruction meeting for review which shall be based on all payment applications.

  - Be responsible for obtaining all necessary zoning and building permits and inspection approvals and paying all related cost/fees for the required work. Contractor shall be responsible for obtaining directly from the engineering firm at its own expense, if needed, any necessary engineering drawings (CAD drawings, signed/sealed electronic plans, or hard copies). Contractor shall provide a copy of all obtained permits to the Office of Parks & Water Resources Project Manager prior to the start of construction. Contractor shall be responsible for installing a Permit Posting Box Unit. Approved plans and permits shall be available on site for the inspector. For questions regarding building permits and review process please contact the Office Building Services at (352) 343-9653.

  - Be responsible for the proper packaging, shipping, handling, and storage of materials to be incorporated in the work, to ensure the preservation of the quality and fitness of the materials for proper installation as required by the contract documents. Products must be delivered to the site in the manufacturer’s containers or packaging. Contractor shall provide: storage containers for material as necessary; sufficient manpower and equipment to off load equipment at jobsite per scheduled delivery; dumpsters for cardboard waste and packing debris; and adequate security to protect delivered products from theft, vandalism, or damage during the installation. Contractor shall return all damaged products to the manufacturer and shall be responsible for replacement of damaged items.

  - Be responsible for verifying site conditions. Verify and coordinate all work to field locations and dimensions.

  - Confine its operations at the site to areas permitted by law, ordinances, and permits.  Contractor shall not unreasonably encumber the site with materials, equipment, or trailers. Contractors shall not cause the entrance to be blocked or otherwise prevent reasonable access to the site, other working or parking areas, completed portions of the work, and/or properties and storage areas. Contractor shall be given twenty-four (24) hours’ notice by the County Project Manager to remove or relocate the materials, equipment, or trailers improperly placed on the site; if Contractor fails to remove or relocate the items as directed within the 24 hours provided, the County will remove the items at Contractor’s expense.

    - County will provide an area for Contractor to store equipment. County is not responsible for theft of Contractor’s items.

  - Install playground equipment and any associated improvements in accordance with the stated and implied Scope of Work, County Terms and Conditions, and Construction Plans & Specifications provided under the manufacturer’s instructions.

  - Meet all applicable Federal, State, and local building codes and shall be performed by qualified licensed Contractors in their respective areas (electrical, mechanical, plumbing, fire, etc.). Additionally, all purchased items shall be in accordance with those issued by the Occupational Safety and Health Administration (OSHA), The National Institute of Occupational Safety Hazards (NIOSH), the American Society for Testing and Materials (ASTM) and Consumer Product Safety Commission (CPSC).

  - Coordinate all work with the County’s Project Manager (Chris Macdonald (352) 460-2902), 48 hours prior to delivery & installation.

  - Move property at the site, including turf (rubber, sod), concrete pavement, asphalt, lime rock path, and fencing as needed during construction. Damage due to the work performed shall be reinstalled, repaired, or replaced before final payment is made.

  - Furnish the Office of Parks & Water Resources with a signed minimum one (1) year warranty and maintenance program covering all labor and systems for a minimum one (1) year from the date of final acceptance of the project by Lake County. Contractor shall be responsible for securing warranties and guarantees for any materials, equipment, or fixtures to be incorporated into the project.

- ACCEPTANCE

  - All products will be inspected by the County for damage and chipped or marred finish. Contractor shall replace any damaged or rejected products at no additional cost to the County.

  - Lake County will review installation to determine compliance prior to final acceptance of the work. Any work not installed in accordance with the plans and specifications and rejected by Lake County shall be removed and replaced at the Contractor’s expense.

  - Final Payment: A Certificate of Completion issued by the Office of Building Services, (352) 343-9653, must be provided on or before submitting the final payment application.

[The remainder of this page is intentionally left blank.]