EXHIBIT A – SCOPE OF WORK		26-525 		ON-CALL LANDFILL MAINTENANCE SERVICES
The qualified contractor(s) (Contractor) shall be experienced with landfill operation systems and shall be qualified and capable to repair and maintenance projects as needed for the Lake County Solid Waste Division (County). Contractor(s) shall be properly licensed, able to diagnose, and troubleshoot issues related to the landfill’s operation systems then make the appropriate repairs or replace systems as needed. 
There is no guaranteed minimum or maximum dollar amount or volume to be expended on any contract(s) resulting from this solicitation. 
1. Contractor shall have verifiable experience in the following areas:
1.1. Civil construction work including earthwork, swales, access roads and berms
1.2. Leachate systems including collection, pumping and disposal, storage tank blasting and cleaning
1.3. Utilities for landfill infrastructure 
1.4. Water and sewer maintenance of commercial landfills
1.5. Lift stations
1.6. Pumps and pumping systems
1.7. Industrial electrical systems
1.8. Air systems
1.9. Control panels and programming 
1.10. Tanker fill stations
1.11. Water level sensors and communications
1.12. Valves, piping
1.13. Backflow preventers 
1.14. Foundation work
1.15. Auto dialer and telemetry system monitoring
1.16. Welding and fabrication of different steels and aluminum 
1.17. HDPE field and electro fusion welding
1.18. Leachate line pipe cleaning, jetting, repairing and videotaping 
1.19. Confined space entry.
2. Inspections, testing and certifications may be required for certain aspects of diagnosis, repair or replacement. 
3. Contractor shall respond to the landfill within twenty-four to forty-eight (24-48) hours after receiving a request for service. If the call is an emergency call, Contractor shall be notified of such, and response time shall be within four (4) hours of notification. 
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