Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Multi-Family Detached Housing				03/04/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of each addendum must be submitted along with the solicitation response. Failure to acknowledge any addendum may result in the submission being disqualified from award consideration.

THIS ADDENDUM DOES NOT ALTER THE PROPOSAL SUBMISSION DEADLINE.

QUESTIONS/RESPONSES

- Will the project be awarded based on value or cost?  Can you please expand on this?  We would like clarification.

Response: Award will be based on a cost-benefit analysis.

- Is a bid bond required?

Response: No.

- Is there any known soil mitigation?

Response: There is no known soil mitigation anticipated.

- Is there an electrical branching layout?

Response: No, dwelling unit electrical drawings must be provided by contractor. Refer to Exhibit A - Scope of Work, section 2.15.16 indicating:

“Contractor shall provide and submit engineering drawings per above dwelling unit requirements for review/approval to the Office of Parks and Water Resources, Facilities Management before proceeding to apply for building permits. Dwelling unit drawings must be signed/sealed by a professional engineer”.

*Note: The required Engineering Drawings shall include architectural, mechanical, plumbing, electrical and structural.

- Is there any ongoing coordination with the local utility companies?

Response: Yes.

- What are the requirements for Telecommunications?

Response: Refer to Exhibit A - Scope of Work, section 2.15 Dwelling Units Minimum Requirements, subsection 2.15.5 indicating: “Cable TV and internet connections shall be provided”.

- Please provide clarity on MWBE- are the numbers a goal, or a requirement?

Response: MWBE data is for reporting purposes only.

- Section 1.1.1- Separate Builders Risk Policy for this project for the full budgeted amount is required? Can this be waived?

Response: No.

- With respect to Professional Liability, please confirm this is a requirement, it’s not clear in section 1.1.2: Professional Liability and Specialty Insurance (medical malpractice, engineers, architect, consultant, environmental, pollution, errors and omissions, etc.) as applicable, with minimum limits of $1,000,000 and annual aggregate of $2,000,000.

Response: Confirmed.

- Will the County require a specification book? Or will a performance spec on sheets suffice?

Response: A performance specification on sheets will suffice.

- What is the cap for liquidated damages?

Response: Liquidated Damages will be as set forth in the following table:

| Service/Project Amount | Daily Charge (Per Calendar Day) |
| --- | --- |
| $5,000 and under | $25 |
| Over $5,000 but less than $10,000 | $65 |
| $10,000 or more but less than $20,000 | $91 |
| $20,000 or more but less than $30,000 | $121 |
| $30,000 or more but less than $40,000 | $166 |
| $40,000 or more but less than $50,000 | $228 |
| $50,001 or more | $250 |

- What is the ETA on revised Civil Drawings?

Response: Refer to attached revised Exhibit K - Engineered Drawings dated 3-4-2026. Additional revisions to add force main details and any other minor forthcoming revisions.

- Is Landscaping and Irrigation required? If so, please indicate irrigation water source.

Response: Yes, Landscaping and Irrigation required. Please refer to the Landscape & Irrigation Plans dated 3-4-2026. Irrigation water source will be City of Tavares existing water main on County Road 561.

- Please provide Geotech Report.

Response: Please refer to Exhibit O - Geotechnical Investigation.

- Please confirm existing fire hydrant is sufficient for project.

Response: There are 3 new proposed fire hydrants for the project. Refer to Utility & Fire Plan sheet C-600 included in the revised Exhibit K - Engineered Drawings dated 3-4-2026.

- Please provide the specifics for the Entry Fire Gate.

Response: Refer to Geometry Plan sheet C-400 included in the attached revised Exhibit K – Engineered Drawings dated 3-4-2026, specifically note indicating New Proposed Swing Gate With 'CLICK2ENTER'. In addition, refer to Utility & Fire Plan sheet C-600, Utility Notes #24.

- Please provide details of crossings between underground utilities located on and off site as indicated on civil drawings.

Response: Refer to General Details sheets C-700 and C-801, and Wastewater Details sheet C-901 included in the attached revised Exhibit K - Engineered Drawings dated 3-4-2026.

- Are all water and electrical meters at each property to be owners’ cost?

Response: Lake County will pay directly to the Utility Companies any required water and/or electrical meter cost/fee for each dwelling unit, site lighting system and lift station. Change Orders will not be issued for any Utility Company cost/fee.

- Provide grading elevations for sidewalk and paving.

Response: Refer to Grading & Drainage Plan sheet C-500 included in the attached revised Exhibit K - Engineered Drawings dated 3-4-2026.

- Sheet C700 denotes 4" sidewalks and scope of work document say 6". Please confirm. All concrete sidewalks shall be a minimum of 6” thick (not 5 ½” or 5 ¾”). Wire mesh shall be mounted on chairs.

Response: Refer to Exhibit A - Scope of Work, section 2.9. In addition, refer to Exhibit A - Scope of Work section 2.8 and Exhibit L - Concrete Pre-pour Inspections for additional requirements.

- Is a dumpster a part of scope? If so, are there specs?

Response: Yes, refer to Exhibit A - Scope of Work, section 2.16 indicating “construction of dumpster enclosure”. Dumpster Enclosure location shown in Geometry Plan sheet C-400, detail added to sheet C-700 General Details, refer to attached revised Exhibit K - Engineered Drawings dated 3-4-2026.

*Note: Dumpster Enclosure walls shall be constructed with split face block.

- Provide water source for irrigation.

Response: Irrigation water source will be City of Tavares existing water main on County Road 561.

ADDITIONAL INFORMATION

1. Exhibit K – Engineered Drawings has been replaced with Exhibit K – Engineered Drawings (Revised 3-4-26).

2. Exhibit O – Geotechnical Investigation has been added to the solicitation documents.

3. Exhibit P – Landscape and Irrigation Plans (3-4-2026) has been added to the solicitation documents.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.