Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Multi-Family Detached Housing				03/10/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of this addendum should be submitted along with the solicitation response.

THIS ADDENDUM DOES NOT ALTER THE PROPOSAL SUBMISSION DEADLINE.

QUESTIONS/RESPONSES

- Is any portion of the project site located within a FEMA flood zone?

Response: No.

- Will this project be subject to County impact fees, utility connection fees, or building permit fees?

Response: See Exhibit A – Scope of Work, Section 1.5.

- Can the County confirm that primary access to the project site will be via the existing stub-out road connecting to County Road 561?

Response: Confirmed.

- Are any off-site roadway improvements anticipated on County Road 561 (e.g., turn lanes, signalization, widening, etc.)?

Response: This need is not listed in the solicitation documents.

- Has the County completed a geotechnical report for the site? If so, will it be shared with proposers?

Response: See Exhibit O – Geotechnical Investigation.

- Please confirm the status and capacity of water, sanitary sewer, stormwater outfall, and electric service.

Response: Confirmed and there is ongoing coordination with the local utility companies, as noted in No.1 Addendum, Question 5.

- Are utility extensions or off-site improvements anticipated, and if so, who is responsible?

Response: Please refer to Exhibit K – Engineered Drawings.

- Exhibit L references concrete pre-pour inspections. Please confirm whether alternative foundation systems (e.g., engineered pier, helical, or other code-compliant systems) will be considered, or whether cast-in-place concrete foundations are mandatory.

Response: Vendors may provide alternative foundation systems, however approval of each system will be at the discretion of the County.

- Please confirm that factory-built modular housing constructed in accordance with Florida Building Code and applicable HUD/Davis-Bacon requirements is acceptable under this solicitation.

Response: Confirmed.

- Modular manufacturers typically require front-loaded material procurement and factory mobilization. Will the County consider a payment schedule that includes an upfront mobilization payment in the range of 40–50% tied to material procurement and production commencement, subject to appropriate performance security?

Response: No.

- Does the County anticipate issuing a single release of units, or multiple phased task orders over time?

Response: Single release of units.

- What is the County’s target timeline for notice to proceed and full project completion?

Response: A Notice to Proceed will be issued upon successful filing of the Performance and Payment Bond, with a completion date of December 1, 2026.

- Please confirm the applicable wage determination and whether Davis-Bacon applies to all off-site modular fabrication activities or only on-site work.

Response: The Davis-Bacon Act applies to all off-site modular fabrication activities. This includes any construction, alteration, or repair activities that are part of a federally funded or assisted project.

- Attachment requirements reference Section 3. Please clarify the target participation levels, if any.

Response: N/A

- Attachment requirements reference Section 3. Please clarify the reporting expectations

Response: The Contractor is required to submit Section 3 Worker Certification forms and documentation to HUD. The Contractor must report Section 3 Worker certification at the completion of the project.

- Attachment requirements reference Section 3. Please clarify whether off-site manufacturing labor counts toward Section 3 goals

Response: Off-site manufacturing labor can count toward Section 3 goals, provided that the worker meets the eligibility criteria for Section 3 certification. Specifically, labor hours spent on contracts can contribute to the overall goals of 25% of total labor hours worked by Section 3 workers and 5% by Targeted Section 3 workers. The Contractor shall maintain documentation and compliance with the regulations to ensure that off-site manufacturing labor is recognized in their Section 3 efforts

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.