Office of Procurement Services

P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778

SOLICTATION: Commercial Tenant Improvements				03/09/2026

Vendors are responsible for the receiving and acknowledging all solicitation addenda. An electronically signed copy of each addendum must be submitted along with the solicitation response. Failure to acknowledge any addendum may result in the submission being disqualified from award consideration.

THIS ADDENDUM DOES NOT ALTER THE PROPOSAL SUBMISSION DEADLINE.

QUESTIONS/RESPONSES

- Are there any attic stock requirements for this project?

Response: 1%

- To comply with note 21 on sheet E-201, please provide the existing Fire Alarm System manufacturer and existing as-builts?

Response: The requested information is not available.

- Is there a requirement Professional Engineer (PE) seal required for the new Fire Alarm Drawings?

Response: Refer to Exhibit A - Scope of Work Section 1.3.5 “Fire Sprinkler and Alarm System” indicating; “Contractor shall provide engineering signed/sealed drawings and obtain required permit for a complete code-compliant system”. In addition, please note that the Contractor shall be responsible for paying all related costs/fees for obtaining directly from the engineering firm the required Fire Alarm System drawings at his own expense.

*Note: New Fire Alarm System building permit fees only are included under Permit Fees allowance of $8,000, refer to Addendum #1 question/response #2.

- In the absence of a demolition sheet for Mechanical, please confirm all existing mechanical ductwork and accessories is to be demolished back to the roof penetrations of the existing RTU’s.

Response: Confirmed.

- Is there any existing MEP that runs through the space that serves the adjacent tenant spaces that needs to be maintained?

Response: None that the building owner is aware of.

- Per sheet A-03, Section 06 20 00 - Finish Carpentry and 06 42 00 – Wood Paneling – Quality Assurance sections reference the requirement of an AWI Certification by the installer and labels. There is a limited number of Installers that have the Certification, there is a smaller number of those who provide the labels, as they are long lead times and additional cost. Please confirm full compliance with Specification Sections is required.

Response: AWI certification is required, but labeling requirement is waived.

- Please clarify if the GC is to provide the brackets and TV’s or if they will be provided by Owner.

Response: Owner will supply TVs and mounting brackets.

- HVAC 1.9 To the extent possible, each individual office space needs should have separate temperature controls. Please confirm the controls are to be per Mechanical Drawings and additional controls are no longer required.

Response: Controls are to be per mechanical drawings.

- Safe Rooms 1.10 and 1.11, please confirm these are no longer required as there is no call out for this type of wall construction on the Architectural or Structural sheets.

Response: Safe Room is not and never was part of this project.

- Security System 1.12 please confirm that all the required cameras are per sheet E-301 or are additional cameras required.

Response: Cameras are to be provided and installed by owner's vendor.

- Security Systems 1.13 please clarify what is required for glass breaks and motion detectors?

Response: Security Systems are to be provided and installed by owner's vendor.

- Security Systems 1.14 please confirm access systems are to be per sheet E-201 and all doors do not require access control and records.

Response: Security Systems are to be provided and installed by owner's vendor.

- Security Systems 1.15 please confirm that each exterior door no longer requires doorbell, intercom and a camera for visual confirmation.

Response: Security Systems are to be provided and installed by owner's vendor.

- Wireless Networks 1.17.1 Please confirm two wireless networks, one secured for SOE use only and one for public access.

Response: Confirmed

- Restrooms 105, 106 and 128 show sloping to the drains. How deep is the slab recess? If there is no recess, please provide transition details at the entry doors.

Response: Depth of slab recess is to be as needed to permit floor slopes shown in the construction drawings.

- There is no floor finish shown for Vestibule 100. Is the intent to have no floor covering? If the intent is to have a walk-off mat, please provide spec.

Response: Vestibule 100 existing floor finish is the finish to remain.

- Is there an intended finish for the stair treads or are they to remain exposed concrete? Response: The stair treads are to remain exposed concrete.

- Please clarify specifically what is being furnished with the Owner provided generator.

Response: Owner is furnishing generator itself, transfer Switch assembly, and docking port assembly. I.e. Generator, ATS -LS, ATS-SB2, MTST, etc.

- Clarification on whether the door for 121 will be a new door.

Response: No, door 121 is to remain as shown in door schedule.

- We will need to know the selections in order to the most accurate pricing:

Wood veneer finish?

Response: Walnut American FC; Finish#92568.

Plastic Laminates?

Response: Wilsonart Premium Laminate Malpe PB Chestnut 8272K-05 Timber grain Finish.

Quartz Countertops?

Response: Changed to solid surface Lobby Wilsonart Solid Surface - Europa 9210CM.

Bathrooms/Other?

Response: Wilsonart Solid Surface - Cliffside Travertine 9919SS.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.

I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.

Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.

Date: Click or tap to enter a date.

Print Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Primary E-mail Address: Click or tap here to enter text.

Secondary E-mail Address: Click or tap here to enter text.