ADDENDUM NO. #		20-0xxx
ADDENDUM NO. 1		26-921
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Office of Procurement Services
P.O. Box 7800 • 315 W. Main St., Suite 416 • Tavares, FL 32778
SOLICTATION: Asbestos and Air Quality Testing Services				08/13/2026

Vendors are responsible for the receipt and acknowledgement of all solicitation addenda. Submit an electronically signed copy with solicitation submission. Failure to acknowledge an addendum may prevent the submission from being considered for award.
THIS ADDENDUM CHANGES THE DATE FOR RECEIPT OF PROPOSALS TO
TUESDAY, AUGUST 25, 2026 @3:00PM (EST)

QUESTIONS/RESPONSES
1. Which takes precedence between Exhibit D, the Sample Agreement, and Exhibit C, the General Terms and Conditions?
Response: The Sample Agreement
2. Is any part of the Agreement to be funded by federal, state, or other local agency monies?
Response: That information is unknown until a need and funding source arises.
3. Will performance or payment bonds be required?
Response: No.
4. Are there any other liquidated damages provisions applicable to this contract?
Response: No.
5. Please confirm that additional insured status does not need to be provided for either the Workers Compensation or Professional Liability policies.
Response: Confirmed
6. For the pricing sheet, are we allowed to add pricing options for different square foot options for the asbestos line items, as you have done for the IAQ services?
Response: Bidders must provide the pricing as noted in Attachment 3 – Pricing Form.  However, additional pricing may optionally also be provided.
7. What is the difference between Comprehensive Asbestos Hazard Assessment and Pre-Demolition Asbestos Hazard Assessment on the pricing sheet?
Response: Item 14 covers a full-building survey identifying all suspect asbestos-containing materials (ACM) regardless of planned work. Item 15 is scoped specifically to materials that will be disturbed by an upcoming demolition, as required under NESHAP prior to demolition activities. Both are priced per square foot (SF).
8. What is the expected turnaround time for laboratory analysis of asbestos samples? 
Response: Item 27 should be based on a standard 3-5 business day laboratory turnaround time and may provide expedited pricing as an additional line item.
9. Does the asbestos sample fee include only the lab fee or both the lab and labor fee for collecting said sample?
Response: Item 27 should reflect the laboratory analysis fee only.
10. Are there any point count asbestos analysis costs needed?
Response: No
11. Are any roof core sample costs needed?
Response: No
12. Are there any asbestos PCM or TEM air sample analysis costs for abatement projects needed?
Response: No
13. Is the lead paint sampling to include an XRF option in the line-item cost?
Response: No
14. Can you include a line item for lab testing not specified (fees not specified)?
Response: Bidders may optionally provide any additional pricing.
15. Attachment 3 – Pricing Sheet: Items 19 and 20, Can you confirm that the units of measure are square feet (SF)? IAQ assessments can be nuanced and there is difference between a focused assessment of a 200 square foot office compared to 9,500 square foot area or building.
Response: Confirmed
16. Attachment 3 – Pricing Sheet. Should items 23 and 24 in the Attachment 3 – Pricing Sheet be included in the per sampling pricing section?
Response: No
17. Attachment 3 – Pricing Sheet. What are the associated laboratory turnaround times for items 25 through 42?  Even “standard” TAT can be different depending on the analysis and most labs generally price the analysis on an hour and/or day turnaround time.  
Response: Items 25-42 should be based on a standard 3-5 business day turnaround time and may provide expedited pricing as an additional line item.
18. Attachment 3 – Pricing Sheet. What kind of asbestos pricing is being requested?  Air? Bulk?
Response: Item 27 should be priced as bulk.
19. Attachment 3 – Pricing Sheet, Item 34 (Mold Spore trap by optical microscopy) is generally recognized as Mold Spore Trap (Items 23 and 24, should we still provide a unit price?
Response: Yes
20. 8.5.1 – Vendor Profile. Should we include individual licenses and certificates for all staff on the proposed team or just the Program Manager along with the relevant company licenses?
Response: Program Manager along with the relevant company licenses.
21. Does the format of the submittal need to be structured such that the Vendor Profile is labeled section 8.5.1, Forms are labeled section 8.5.2, etc.?  Or for example, can the Vendor Profile be Section 1, Forms be Section 2, etc.
Response: The Vendor Profile shall be in Section 1. The Forms shall be Section 2, etc.

ACKNOWLEDGEMENT

Firm Name:  Click or tap here to enter text.
I hereby certify that my electronic signature has the same legal effect as if made under oath; that I am an authorized representative of this vendor and/or empowered to execute this submittal on behalf of the vendor.  
Signature of Legal Representative Submitting this Bid:  Click or tap here to enter text.
Date: Click or tap to enter a date.
Print Name: Click or tap here to enter text.
Title: Click or tap here to enter text.
Primary E-mail Address: Click or tap here to enter text.
Secondary E-mail Address: Click or tap here to enter text.
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