- SCOPE OF SERVICES

  - The purpose of this solicitation is to establish a contract with one or more qualified contractors to furnish and deliver ready-mix concrete and related materials for use on County construction and maintenance projects.

  - This is an indefinite quantity contract with no guaranteed minimum or maximum dollar amount or volume.

- MATERIALS

Contractor shall be required to furnish and deliver the following materials:

  - Ready-mix concrete meeting the County specifications, including but not limited to Class I, Class II and Class III mixes.

  - Flowable Fill meeting applicable FDOT and County requirements.

  - Short-Load Deliveries (Quantities below 5 CY).

  - Admixtures & Options, which may include air entrainment, retarders, accelerators, fibers, and other additives as specified per order.

  - All concrete and related materials shall comply with the FDOT “Standard Plans for Road and Bridge Construction.” Latest Edition, Section 346 – Portland Cement Concrete, and any additional County specifications provided at the time of order.

- CONTRACTOR’S RESPONSIBILITIES

Contractor Shall:

  - Provide all surcharges, labor, fuel, materials, equipment, trucking and incidental costs necessary to supply and deliver the ordered products.

  - Provide a dedicated point-of-contact and email address for order placement.

  - Confirm acceptance of each order within 24 hours of receipt.

  - Ensure all deliveries meet the scheduled date and time specified by the County, unless otherwise coordinated in advance.

  - Notify the County immediately of any anticipated delays, shortages, or issues affecting delivery or material quality.

  - Provide delivery tickets at the job site containing batch time, load size, mix design, truck number and any admixtures included in the load.

  - Ensure all trucks comply with applicable safety regulations and are equipped to discharge concrete without contamination.

- COUNTY RESPONSIBILITIES

County shall:

  - Reserve the right to award one or more contractors.

  - Submit orders to the contractor via email specifying mix type, quantity, delivery location and delivery date and time.

  - Inspect delivered materials for compliance with specifications and reject any loads that do not meet requirements.

  - Provide timely notice to the contractor when changes or cancellations are necessary.

- PRICE ESCALATION

  - Prices remain firm for the initial contract term.

  - Any request for price increases will be subject to written approval by County. Request must be submitted in writing at least 60 days in advance of the applicable contract renewal date/expiration of the current term and must include manufacturer/supplier documentation.

  - Escalation cannot exceed the Consumer Price Index (CPI) for the prior 12-month period unless otherwise approved by the County.

[End of Exhibit A.]